GULF COAST ELECTRIC CO., LLC

554 Old Spanish Trail

Slidell, Louisiana, 70458

985-290-3888/ Fax 985-641-5950

Email: gulfcoastelect@bellsouth.net

Louisiana License # 46737

8/02/12

Craig Henry

824 Beaux Chen Dr.

Mandeville, La

985-845-8145 home

504-621-4114 cell

To whom it may concern,

Mr. Henry has acquired our services to inspect his residence following a lightning strike near his home.

Inspection of the electrical panel and breakers was performed.

Inspection of receptacles and lighting circuits was performed.

A volt –ohm meter was used to check individual circuits for shorts.

Air-conditioning disconnects were checked for operation.

The generator transfer switch was inspected.

An attic inspection was performed and no detectable burns on cables were identified.

After the inspection of the above items it has been found to be safe for occupancy.

Please note that the electrical wiring inside the sheet rock walls was not visually checked for burned or charred insulation.

Gulf Coast Electric Co. LLC recommends the installation of a lightning protection system on this home to deter further lightning strikes.

Kirt Dammon

Gulf Coast Electric Co. LLC