DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

November 7, 2007

Bryan Construction Company

779 Avery Blvd. North

Ridgeland Ms. 39157

Attn: Mike Hole

RE: Grand Pointe Apartments Phase II

        Lafayette, La.

Mr. Mike,

The original sewer layout called for four 4” sewer outlets under the foundation to tie into the main sewer. Per the contractors request we have agreed that one 4”sewer line from the bldg. to the main sewer line is adequate for this installation.

Please call me with any questions you may have.

Chuck Dammon 

Dammon Engineering

