December 17, 2004

City of Slidell

P.O. Box 828

Slidell, La.

Permit Department

To: Mr. Pichon

RE: Front entrance door framing supports and round anchor bolt washers.

Dear Mr. Pichon

1). The contractor shall install two 10x10x1/4 angle brackets in each corner of header and packing studs. Using 10 12x3 flat head- Phillips screws per bracket.

2). The contractor shall be allowed to use the round washer that comes with the bolts, due to the fact that he has installed SP1 strapping for the bottom plate and SP2 strapping for the top plate at every 16”on the exterior side of the bldg.

Please call me with any questions you may have.

Sincerely

Chuck Dammon

