DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950


To: Donna LeBlanc


Date: 7-28-09


Re: Re-Submittal P0364108

Ms. LeBlanc,

Please see the enclosed information about the referenced project #. 

This is in response to your Information Request letter dated June 5, 2009. Comment #2 addresses the use of backflow prevention.  A backflow preventor will be installed per the comments, and details following this letter.

Thank you,

Brandon Nowakowski
