August 31, 2007

Mr. Michael McLean

State of Louisiana

Office of State Fire Marshal 

8181 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: PO328593

       El-Bethel Pentecostal Church

       Allen Road

       Slidell, La. 70458

Dear Mr. McLean,

In response to your review letter dated July 27, 2007, we have made the following changes to the building plans:

1. An automatic sprinkler system shall be provided throughout the entire building.

2. The community room now has two remotely located means of egress, and the second floor classrooms have been rearranged to allow a maximum of 49 occupants. 

3. All other comments have been addressed. 

Please review the revised drawings. Also, note that Mr. Rob Sollberger is the new Professional of Record.

Please call me with any question you may have.
Sincerely,

Chuck Dammon 

VP/Project Manager

Attachment:

Copy of Fire Marshal review, P0328593

