MASTER
6 Oct 1998
01600
UPDATES  -

6 Oct 98
-
Added chalkboards, markerboards, tackboards, and visual display cabinets as Owner furnished, Contractor installed items.

Do not make any changes to Division 01 which change the Owner's procedures without prior approval by the Area Office.  Make changes only in items affecting this Project specifically.

Do not add information to any technical specification Section which repeats or conflicts with the provisions in Division 01.



SECTION  01600


PRODUCT REQUIREMENTS
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Administrative and procedural requirements governing Contractor's selection of products for use in Project.

B.
Related Sections

1.
Section 01300, Submittals  -  Contractor's Construction Schedule and Schedule of Submittals
01300
2.
Section 01400, Quality Requirements  -  Definitions and Standards for applicability of industry standards to products specified.
01400
C.
Except for required labels and operating data, do not attach or imprint manufacturer's or producer's nameplates or trademarks on exposed surfaces of products that will be exposed to view in occupied spaces or on building exterior.

1.
Locate required product labels and stamps on concealed surface or, where required for observation after installation, on accessible surface that is not conspicuous.

2.
Provide permanent nameplates on items of service-connected or power-operated equipment.  Locate on easily accessible surface that is inconspicuous in occupied spaces.  Nameplate shall contain following information and other essential operating data -

a.
Name of product and manufacturer

b.
Model and serial number

c.
Capacity

d.
Speed

e.
Ratings

 1.2
PRODUCT DELIVERY, STORAGE, AND HANDLING
A.
Deliver, store, and handle products according to Manufacturer's recommendations, using means and methods that will prevent damage, deterioration, and loss, including theft.

1.
Schedule delivery to reduce long-term storage at site and to prevent overcrowding of construction spaces.

2.
Coordinate delivery with installation time to ensure minimum holding time for items that are flammable, hazardous, easily damaged, or sensitive to deterioration, theft, and other losses.

3.
Deliver products to site in manufacturer's original sealed container or other packaging system, complete with labels and instructions for handling, storing, unpacking, protecting, and installing.

4.
Inspect products upon delivery to ensure compliance with Contract Documents, and to ensure that products are undamaged and properly protected.

5.
Store products at site in manner that will simplify inspection and measurement of quantity or counting of units.

6.
Store heavy materials away from Project structure so supporting construction will not be endangered.

7.
Store products subject to damage by elements above ground, under cover in weathertight enclosure, with ventilation adequate to prevent condensation.  Maintain temperature and humidity within range required by manufacturer's instructions.

PART 2 PRODUCTS
 2.1
PRODUCT OPTIONS
A.
When option of selecting between two or more products is given, product selected shall be compatible with products previously selected, even if previously selected products were also options.

B.
Provide products that comply with Contract Documents, that are undamaged, and, unless otherwise indicated, new and unused at time of installation.  Provide products complete with accessories, trim, finish, safety guards, and other devices and details needed for complete installation and for intended use and effect.

1.
Under the PRODUCTS section of any Section of the Project Manual, if the line 'Equal as approved by Architect prior to bidding.  See Section 01600.' appears in the list of specified items or materials, the Architect is to assume the responsibility for assessing products submitted for approval prior to bidding.  He is then to take the action he feels justified, either approving them by insertion into the Project Manual or by Addendum, or by rejecting them. 

2.
If the aforementioned line is not included in a list of items or materials specified in a Section of the Project Manual, no additional products are to be approved or specified without prior A & E Services approval.

Except for VMR products, delete products and manufacturers specified by the Church with which you are not familiar or with which you have had problems in the past.  These problems may be related to the local distributer / subcontractor rather than the product itself.  The only requirement is that at least two, and preferably three, of the Church specified products or manufacturers be retained and, as mentioned above, none be added where A & E approval is required.

1.
There is no 'approved list' of products, systems, etc, allowed for use on Church Projects.  The only products, systems, etc, to be allowed in any individual Project are those specified in the final Project Manual or those appearing on an Addendum or Change Order.

2.
If you are aware of and have used products equal to those specified by the Church, contact the Specifications Group so they may be introduced into the new product approval process in sufficient time to get a decision prior to printing of your Project documents.  Conversely, if you are aware of problems or deficiencies in Church specified products, contact the Specifications Group.

3.
See also ‘Instructions to Bidders’ Paragraph ‘3,c’.


C.
Product selection is governed by Contract Documents and governing regulations, not by previous Project experience.  Procedures governing product selection include

1.
Substitutions And Equal Products  -

a.
Generally speaking, substitutions for specified products and systems, as defined in the Uniform Commercial Code, are not acceptable.  However, equal products may be approved upon compliance with Contract Document requirements.

b.
Where the heading ‘VMR (Value Managed Relationship) Manufacturers / Suppliers’ is used to identify list of specified products or manufacturers, Owner has established relationships that extend beyond the requirements of this Project.  No substitutions will be allowed.  Follow specified procedures to preserve relationships between Owner and specified manufacturers / suppliers and advantages that accrue to Church from those relationships.

c.
Where heading ‘Approved Manufacturers’ is used to identify list of specified products or manufacturers and statement 'Equal as approved by Architect before bidding.  See Section 01600' is not included, provide only one of products specified.  No substitutions, equal products, or mixing of manufacturers’ products is allowed.

d.
Where heading ‘Acceptable Manufacturers’ is used to identify list of specified products or manufacturers and statement 'Equal as approved by Architect before bidding.  See Section 01600' is included, use specified products and manufacturers unless approval to use other products and manufacturers has been obtained by Addendum after following requirements in Instructions To Bidders relative to approval of equal products.

e.
Where heading ‘Acceptable Manufacturers’ is used to identify list of specified products or manufacturers and statement 'Equal as approved by Architect before installation.  See Section 01600' is included, use specified products and manufacturers unless approval to use other products and manufacturers has been obtained from Architect in writing before installing unlisted products.

f.
Where heading ‘Quality Standard’ is used to identify specified product or manufacturer, use specified product and manufacturer unless approval to use other products and manufacturers has been obtained from Architect in writing before installing products.  If other manufacturers are specified, product to be submitted for Architect’s approval and used shall be product of one of specified manufacturers.

g.
Non-conforming work as covered in Article 12.3 of General Conditions applies, but is not limited, to use of non-specified products or manufacturers.

2.
Where specifications describe a product or assembly by specifying exact characteristics required, with or without use of brand or trade name, provide product or assembly that provides specified characteristics and otherwise complies with Contract requirements.

3.
Where Specifications require compliance with performance requirements, provide products that comply with these requirements and are recommended by manufacturer for application described.  General overall performance of product is implied where product is specified for specific application.  Manufacturer's recommendations may be contained in published product literature, or by manufacturer's certification of performance.

4.
Where specifications only require compliance with an imposed code, standard, or regulation, select product that complies with standards, codes or regulations specified.

5.
Where Specifications require matching an established Sample, Architect's decision will be final on whether proposed product matches satisfactorily.  Where no product available within specified category matches satisfactorily nor complies with other specified requirements, refer to Architect.

6.
Where specified product requirements include phrase ` . . . as selected from manufacturer's standard colors, patterns, textures . . . ' or similar phrase, select product and manufacturer that comply with other specified requirements.  Architect will select color, pattern, and texture from product line selected.

Paragraph ‘7' should be deleted if no allowances are used.

7.
Refer to individual Specification Sections and Allowance provisions in Division 01 for allowances that control product selection, and for procedures required for processing such selections.

8.
Remove and replace products and materials not specified in Contract Documents but installed in the Work with specified products and materials at no additional cost to Owner and for no increase in Contract time.

Edit Article ‘2.2' to correspond with items to be included in this Project.  Delete references to items not used on this Project.

 2.2
OWNER FURNISHED PRODUCTS
A.
Install items furnished by Owner or receive and store in safe condition items purchased direct by Owner, according to requirements of Contract Documents.

1. Items furnished by Owner but installed by Contractor 

2. Interior Signs – division 10 

Add paragraphs ‘A,2' and ‘B,5' entirely if the Furnishings Staging Program is NOT being used on this Project.  Edit list to correspond with Project requirements.

2.
Items furnished by Owner include but are not limited to -

a.
Pianos

b.
Chairs

c.
Tables

d.
Maintenance items

e.
Portable audio visual equipment

f.
Organs

g.
Movable screen dividers

h.
Portable stage

B.
For items specified above,

1.
Allow sufficient lead time for orderly procurement.

2.
Schedule deliveries in harmony with Contractor's Construction Schedule and give written notice to vendors and Owner of any revisions to delivery dates at least 90 days in advance.

3.
Receive and unload during normal working hours.

4.
Verify that number of packages received matches number listed on freight bill and check packages for external damage.  Report damage and loss on freight bill.  Within one day of freight delivery, send freight bills recording loss or damage to The Church of Jesus Christ of Latter-day Saints, Attn: Traffic Section, 1st Floor WW, 50 East North Temple Street, Salt Lake City, Utah  84150.  Identify freight bill with Project name and Project number listed in Contract Documents.  Repair or replace shortages and damages not recorded and reported as specified above, as directed by Owner, at no cost to Owner.

5.
Store and protect until date of Substantial Completion.  Deliver items not stored and protected within building to appropriate location within building when required.

PART 3 EXECUTION  -  Not Used


END OF SECTION

557-1804 (20020)
3
Section 01600

Orlando Welfare Complex 
October 11, 2000
Product Requirements

