STANDARD
19 Jan 2000
05120
UPDATES  -



SECTION  05120


STRUCTURAL STEEL
PART 1 GENERAL
Edit Article ‘1.1' as necessary to give an accurate, but brief description of the work of this Section, especially if the scope of the work is not shown graphically on the Drawings.

 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Structural steel

2.
Lintels

3.
Pipe for bollards

B.
Related Sections

1.
Division 02  -  Installation of pipe for bollards
02776
2.
Division 04  -  Installation of lintels
04813 04814 04815
3.
Section 05050  - Basic Metal Materials And Methods, quality of priming and welding
05081 05090
4.
Division 06  -  Installation of structural steel
06110
 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American Society For Testing And Materials
ASTM
1.
ASTM A 36-97a, 'Standard Specification for Carbon Structural Steel’

2.
ASTM A 53-98, 'Standard Specification for Pipe, Steel, Black and Hot-Dipped, Zinc-Coated, Welded and Seamless’

3.
ASTM A 500-98, 'Standard Specification for Cold-Formed Welded and Seamless Carbon Steel Structural Tubing in Rounds and Shapes’

PART 2 PRODUCTS
 2.1
MATERIALS
Delete from Paragraph ‘A’ references to building elements not used on Project.

A.
Lintels, Glue-Laminated Structural Unit Connections, And Miscellaneous  -  Meet requirements of ASTM A 36.

B.
Structural Pipe

Edit paragraph ‘1' to correspond with sizes and types of structural pipe being used on Project.

1.
Meet requirements of ASTM A 53, Type E or S, Grade B.

a.
Weight Class, STD, Schedule 40

C.
Structural Tubing  -  Meet requirements of ASTM A 500, Grade B.

 2.2
FABRICATION
A.
Lintels  -  After fabrication and prior to shop priming, hot-dip galvanize lintels and relieving angles to be installed in exterior walls.

B.
Shop prime structural steel.

PART 3 EXECUTION  -  Not Used
Installation


END OF SECTION

557-1804 (20020)
1
Section 05120

Welfare Services Center
October 11, 2000
Structural Steel


