STANDARD
12 Oct 1999
07135

UPDATES  -

12 Oct 99
-
Added additional Manufacturer.

4 Aug 99
-
Modified product requirements and added additional manufacturers.

Use this system on ALL PROJECTS which use a slab-on-grade.  On Addition / Remodel Projects where a portion of the existing slab is removed and replaced, the system is not required unless the slab replacement is a rather large area, at least a full classroom.



SECTION  07135


UNDER-SLAB VAPOR RETARDER
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Supplied But Not Installed Under This Section

1.
Vapor retarder, seam tape, and penetration accessories for installation under interior slabs-on-grade.

B.
Related Sections

1.
Division 02  -  Installation
02316
 1.2
REFERENCES
A.
American Society for Testing and Materials
ASTM
1.
ASTM E 1745-97, ‘Standard Specification for Plastic Water Vapor Retarders Used in Contact with Soil or Granular Fill under Concrete Slabs’

 1.3
SUBMITTALS
A.
Quality Control / Assurance
Quality
1.
Independent laboratory test results showing compliance with ASTM Standard.

2.
Manufacturer’s installation, seaming, and penetration boot instructions.

PART 2 PRODUCTS
 2.1
MATERIALS
A.
Vapor Retarder

1.
Conform to requirements of ASTM E 1745, Class C minimum.

2.
Approved Manufacturers  -
Approved Products
a.
Moistop Plus by Fortifiber, Fernley, NV  (800) 773-4777  www.fortifiber.com
b.
R-30 G by Reef Industries, Houston, TX  (800) 231-6074  www.reefindustries.com
c.
Rufco 4WB by Raven Industries, Sioux Falls, SD  (800) 635-3456 www.ravenind.com
d.
Stego Wrap by Stego Industries, San Juan Capistrano, CA  (877) 464-7834

 2.2
ACCESSORIES
A.
Seam Tape  - As recommended by Membrane Manufacturer for continuous taping of seams and sealing of penetration boots.

B.
Penetration Boots at Utility Penetrations

1.
Reef Industries  -  Factory fabricated Griffolyn Pipeboots

2.
All Others  - Field fabricated from same material as vapor retarder membrane.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

557-1804 (20020)
1
Section 07135

Orlando Welfare Complex
October 11, 2000
Under-Slab Vapor Retarder

