SUPPLEMENTARY
9 Mar 1999
07266sup
UPDATES  -

6 mil polyethylene is neither approved nor acceptable for use under building slabs as a vapor barrier.

The vapor retarder specified in this Section may be used on framed walls and ceilings, if required by local code authority.  The Church does not require use of this material on any Project including additions to existing buildings which originally included it.



SECTION  07266


POLYETHYLENE FILM VAPOR RETARDERS
PART 1 GENERAL
 1.1
SUMMARY
A.
Includes But Not Limited To

1.
Furnish and install polyethylene film vapor retarders on framed walls and ceilings as described in Contract Documents.

 1.2
REFERENCES
Delete or add references based on editing of other parts of this Section.

A.
American Society for Testing and Materials
ASTM
1.
ASTM D 4397-96, 'Standard Specification for Polyethylene Sheeting for Construction, Industrial, and Agricultural Applications'

 1.3
SUBMITTALS
A.
Samples  -  Lap sealant or seam tape, and cardboard reinforcement.
Samples
PART 2 PRODUCTS
 2.1
MATERIALS
A.
Vapor Retarder  -  6 mil minimum clear polyethylene sheets meeting requirements of ASTM D 4397.

 2.2
ACCESSORIES
A.
Lap Sealant

1.
Acceptable Manufacturers  -
Approved Products
a.
Narrow Joint Sealer by Schnee-Morehead Inc, Irving, TX  (800) 878-7876  www.trustsm.com
b.
Equal as approved by Architect before use.  See Section 01600.

PART 3 EXECUTION
 3.1
INSTALLATION
Installation
A.
Install using 1/2 inch long minimum staples through thin cardboard disc or strip reinforcement.  Staple every 6 inches along structural members and blocking and 3 inches in from sheet edge.  Run long edge of sheet along structural members.

B.
Bed joints in specified sealant or seal with vapor resistant tape of type recommended by Manufacturer for vapor retarder installation.

C.
Seal penetrations through vapor retarder immediately prior to installation of gypsum board.

 3.2
FIELD QUALITY CONTROL
A.
Inspection

1.
Vapor retarder is to be air tight and free from holes, tears, and punctures.

a.
Immediately prior to installation of gypsum board, inspect vapor retarder for holes, tears, and punctures and repair damaged areas.

b.
Immediately prior to completion of Project, inspect exposed vapor retarder for holes, tears, and punctures and repair damaged areas.


END OF SECTION

20020
1
07266

MeetingHouse
May 22, 2000
Polyethylene Film Vapor Retarder


