
SECTION 08325

IMPACT TRAFFIC DOORS

PART 1 
- GENERAL 

1.1 SUMMARY 

A. Section includes:  

1. Monolithically (one piece) formed, insulated, high impact door systems 

2. Spring bumpers and windows

3. Hardware and accessories 

B. Related Sections:  

1. Section 05599 – Metal Fabrications:  prepared opening with steel channel jambs and header.  

1.2 SUBMITTALS 

A. Reference Section 01330- - Submittal Procedures, submit the following items:  

1. Product information in print format.  

2. Shop Drawings:  show fabrication details.  Include door elevations, head, jamb and meeting stile details including full or partial gaskets.  

3. Samples:  full range of manufacturer’s standard color selections for panel.  

4. Quality Assurance/Control Submittals:  

a. Manufacturer’s installation instructions

5. Close-out Submittals: 

a. Cleaning and Maintenance instructions 

b. Warranty

1.3 QUALITY ASSURANCE 

B. Qualifications:  

1. Manufacturer Qualifications:  Minimum 5 years experience in producing doors of the type specified.  

C. Furnish each Impact Traffic door as a complete unit produced by one manufacturer, including hardware, accessories, mounting and installation components.  

1.4 DELIVERY STORAGE AND HANDLING 

A. Section 01600 – Product Requirements:  transport, handle, store and protect products.  

B. Deliver product in manufacturer’s original unopened packages with label legible and intact.  

C. Examine door upon delivery for damage.  Verify doors were shipped on edge or in upright position as indicated on packaging by manufacturer.  

1. Note specific doors shipped in other than on edge or upright position on bill of lading and contact manufacturer.  

D. Store doors at project site on edge or in upright position and under cover following manufacturer’s instructions printed on carton.  

1.5 PROJECT/SITE CONDITIONS 

A. Existing Conditions:  Frames installed, under other sections, shall be level and plumb.  

1.6 WARRANTY

A. One year from the date of Substantial Completion.  

PART 2 – PRODUCTS 

2.1 MANUFACTURERS 

A. Subject to compliance with requirements, standard of quality is Durulite Industrial Door 

1. Manufacturer:  Chase Industries, Inc. (DBA Chase Doors) Durus Projects, 2809 SW 13th Street, Redmond, OR  97756 Telephone:  (800) 543-4455.  


Fax:  (800) 285-0126 

B. Comparable doors meeting these specifications by the following manufacturers will also be acceptable:  

1. Carlson Projects, Wichita, KS  (Tel:  800-234-1069) 

2. Eliason Corporation, Kalamazoo, MI  (Tel:  800-828-3655)

2.2 DOOR COMPONENTS 

A. Door Panel:  shall be a monolithic, one piece, hollow shell of high impact, cross-linked polyethylene with minimum wall thickness of ¼”, overall panel thickness of 1-7/8” and textured finish.  Bottom, leading and back edges have molded in keyways to accept gaskets.  

B. Door Panel Core:  shall be of high density, foamed-in-place, non-CFC urethane bonded to interior of the cross-linked polyethylene shell providing an insulating R factor of 12.54.  

C. Standard Hinge system:  consists of the following components:  

1. Upper hinge:  self-closing “V” cam design; [1-3/8” standard rise, ¾” low rise, 180(, spring assist].  The roller assembly design shall allow up and down and back and forth adjustments to the door.  Upper hinge seal shall be black PVC with a flexible nylon reinforced vinyl skirt.  

2. Lower hinge:  shall be pillow block design of ductile iron with UHMW sleeve and ductile iron lower hinge adapter with spring assist.  

3. Hinge Shaft:  1-5/16” (33mm) diameter inserted with screws through tubular steel spine which is foamed-in-place during fabrication and runs full length of door.  

D. Vision Panel:  Window glazing shall be 1/8” thick polycarbonate with aluminum frame recessed a minimum of 1/8” from the face of the panel.  Minimum height from finish floor to the bottom of the viewing area shall not exceed 48 inches.  Window size 16” x 22 ½”.  

E. Gaskets:  Gaskets shall be 60 to 80 durometer extruded black santoprene fitted into matching, pre-formed gasket key and held by friction.  Gaskets have wings which seal against rounded edges of the door.  

1. Fully Gasketed:  Leading edge shall be blade-type.  Bulb type gasket is used on the bottom and between the back of the door and jamb.  Top seal is a co‑extruded PVC extrusion with flexible PVC gasket.  

2.3 ACCESSORIES 

A. Polyethylene Spring Bumpers with 4” projection, 42” height.  Color to be determined by Architect from manufacturer’s standard selection.  

B. Lower Hinge Guards

2.4 SOURCE QUALITY CONTROL 

A. Tolerances:  Width and height of each panel:  +/-1/4 inch.  

PART 3

– EXECUTION 

3.1 EXAMINATION 

A. Verify that openings are ready to receive work and opening dimensions and clearances are as indicated on drawings.  

B. Coordinate with responsible entity to perform corrective work on unsatisfactory conditions.  

C. Commencement of work by installer is acceptance of opening conditions.  

3.2 INSTALLATION 

A. Follow manufacturer’s instructions.  Coordinate sequence of installation with other work to avoid delays.  

B. Install doors accurately in their respective frames with clearances, necessary anchors, hardware and accessories according to the manufacturer’s data and as specified.  

3.3 ADJUSTING 

A. Follow manufacturer’s instructions as required to:  

1. Clean and lubricate operating parts.  

2. Adjust to open and close smoothly and freely without binding.  

3. Check seals for proper fit.  

3.4 CLEANING 

A. Clean surfaces soiled by work as recommended by manufacturer.  

B. Remove surplus materials and debris from the site.  

END OF SECTION

557-1804 (20020)
3
Section 08325

Orlando Welfare Complex
October 11, 2000
Impact Traffic Doors 

