SUPPLEMENTARY
1 Aug 1998
08851sup.a
UPDATES  -



SECTION  08851


GLAZING INFILL PANELS
PART 1 GENERAL
 1.1
SUMMARY
A.
Products Installed But Not Provided Under This Section

1.
Infill panels

B.
Related Sections

1.
Section 08411  -  Installation into storefront system
08411
Edit paragraph ‘2' to indicate the Section specifying the windows to receive infill panels.

2.
Section 085??  -  Installation into windows

 1.2
SUBMITTALS
A.
Samples  -  Color samples for Architect’s selection.

PART 2 PRODUCTS
 2.1
MATERIAL
Other types of panels may be used if acceptable to the Project Manager.  These other type panels may either be added as equals to the porcelain enamel panels, or as a replacement specification.

A.
Panels

1.
28 ga porcelain enameled steel face and back.

2.
Core  -  Polystyrene

3.
Thickness  -  One Inch.

4.
Color as selected by Architect.

5.
Acceptable Manufacturers  -
Approved Products
a.
Alliance America, Norcross, GA  (800) 631-4514 www.allianceamerica.com
b.
Mapes Industries, Lincoln, NE  (800) 228-2391  www.mapesind.com
c.
Equal as approved by Architect before bidding.  See Section 01600.

PART 3 EXECUTION  -  Not Used
Installation

END OF SECTION

ADVANCE \d252
B L A N K   P A G E

20020
1
Section 08851

MeetingHouse
May 22, 2000
Glazing Infill Panels

