STANDARD
10 Nov 1998
10115

UPDATES  -

6 Oct 98
-
Changed markerboards to Owner Furnished, Contractor installed.

Markerboards are authorized in meetinghouses ONLY for use in Offices.  They ARE NOT to be used in other rooms in meetinghouses, including rooms used for seminary classes.



SECTION  10115


MARKERBOARDS

PART 1 GENERAL

 1.1
SUMMARY

A.
Related Sections

1.
Division 06  -  Blocking
06110
 1.2
REFERENCES

A.
Porcelain Enamel Institute
PEI
1.
PEI S-104 ‘

 1.3
SUBMITTALS

A.
Product Data
Product Data
1.
Manufacturer's literature or cut sheet

2.
Maintenance instructions

3.
Color selection

B.
Quality Assurance / Control  -  Manufacturer's written installation instructions.
Quality
 1.4
WARRANTY
Warranty
A.
Letter from Manufacturer certifying Contract Documents have been complied with and guarantee against faulty workmanship and materials for five years.

PART 2 PRODUCTS

 2.1
COMPONENTS

A.
Markerboard

1.
Face shall be steel, 28 gauge minimum, coated two sides with fused ground coat, and finished one side with vitreous porcelain enamel designed for use with markers.  Coating shall meet requirements of PEI S-104.

2.
Core shall be mat-formed particle board.

a.
3/8 inch thick medium density or 

b.
1/2 inch thick low density minimum.

3.
Backing shall be 0.005 minimum aluminum foil.

4.
Color white.

B.
Trim

1.
Extruded aluminum with a satin etched and anodized finish 6063-T5 Alloy.

a.
Extrusions shall match thickness of units without wedging.

b.
Color as selected by Architect.

c.
Round all sharp edges.

C.
Marker Trays

1.
Provide 2 inch radius rounded ends on marker trays.

2.
Marker trays with squared, sharp ends are not acceptable.

D.
Map Clips

1.
Manufacturer's standard.

2.
Provide two map clips on markerboards.

 2.2
APPROVED MANUFACTURER

A.
ADP Lemco Corporation, West Jordan, UT  (800) 575-3626  www.adp-lemco,com
 2.3
FABRICATION

A.
Prefabricate units at factory and ship to jobsite in one piece complete with mounting attachments suitable for wall conditions.  Units shall be of first quality and lamination done by approved standards of industry.  Furnish printed cleaning instructions with each shipment.  Marker trays may be removed for shipment.

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Mount boards square and level.  Anchor board securely to wall and shim as necessary to provide permanent installation and smooth operation.

B.
Mount boards flush to wall by top and sill clips, by continuous concealed hangers at top and bottom, or by combination of hangers and clips.  Where clips are used, use two top clips minimum per board.  Use two bottom clips per board on boards 5 feet long or shorter, three bottom clips on boards over 5 feet long.

C.
Mounting fasteners shall penetrate framing lumber or masonry 3/4 inch minimum.  Use one inch long minimum filler plugs in masonry walls.

D.
After attaching map clips, apply permanently attached end cap or screw to prevent removal of map clips.


END OF SECTION

557-1804 (20020)
1
Section 10115

Orlando Welfare Complex
October 11, 2000
Markerboards 


