STANDARD
24 Feb 2000
10811

UPDATES  -

24 Feb 00
-
Corrected McKinney / Parker phone number

30 Sep 99
-
Deleted instruction to mount Mother’s Room mirror on door.



SECTION  10811


COMMERCIAL TOILET ACCESSORIES

PART 1 GENERAL

Edit Article ‘1.1' as necessary to give an accurate, but brief description of the work of this Section and accurate listing of related work, especially if the scope of the work is not shown graphically on the Drawings.

 1.1
SUMMARY

A.
Products Supplied But Not Installed Under This Section

1.
Accessories for Rest Rooms.

2.
Custodial Room accessories

B.
Related Sections

1.
Division 06  -

a.
Blocking
06110
b.
Installation
06201
On meetinghouse Projects, soap dispensers and towel dispensers are generally provided by the local Church PM Group to correspond with the type of soap and towels they use.  In some cases, the local PM Group will provide some of the other items specified below.  Specify in this Section the soap and towel dispensers for Church Education System Projects, unless there is a local PM Group to provide them.

If the local PM Group installs and uses other items that differ from the standard items specified, reference them here also and delete mention of them under Article ‘2.1'.

2.
Soap dispensers and paper towel dispensers provided by PM Group.

 1.2
SUBMITTALS

A.
Product Data  -  Manufacturer's literature or cut sheets
Product Data
B.
Shop Drawings  -  Schedule showing items used, location where installed, and proper attaching devices for substrate.
Shop Drawings
PART 2 PRODUCTS

 2.1
MANUFACTURED UNITS

A.
Approved Products And Manufacturers
Approved Products
1.
Rest Rooms  -

a.
Toilet Tissue Dispensers  -

Men's


Women's
1)
A & J

Model U806B

Model U815-42

2)
ASI 


Model 0264-1A

Model 0697-GAL

3)
Bobrick

Model B2740

Model B2840

4)
Bradley

Model 5241-50

Model 5263

5)
Gamco 

Equal 


Model SPH-2

6)
McKinney / ParkerModel 1031DLCO

Model 2233LAT

b.
Sanitary Napkin Disposal Container  -

1)
A & J

Model U590

2)
ASI 


Model 0852

3)
Bobrick 

Model B270

4)
Bradley

Model 4781-15

5)
McKinney / ParkerModel 626

c.
Mirrors  -  Glass with stainless steel channel frame.  Size as shown on Drawings.

1)
A & J

Model U711

2)
ASI 


Model 0620

3)
Bobrick
 
Model B-165

4)
Bradley 

Model 700 Series

5)
Gamco
 
Model C Series

6)
McKinney / ParkerModel 180

d. Grab Bars  -  Concealed mount, 18 ga, type 304 stainless steel, 1-1/2 inch diameter, and non-slip finish in configuration shown on Drawings.

2.
Custodial Room  -

This unit includes mop / broom hangers, shelf, and a rod for hanging rags.

a.
Utility Shelf  -  Size as shown on Drawings.

1)
A & J

Model UJ13

2)
ASI 


Model 1300 Series

3)
Bobrick

Model B-224 Series

4)
Bradley

Model 998 Series

5)
Gamco

Model US Series

6)
McKinney / ParkerModel 224/232

Edit the list of approved manufacturers to include only those with whom you are familiar and whose products are available in the Project area.  Edit the lists of products specified above to match manufacturers selected.  Do not add or approve any other manufacturers or systems without written approval of Owner’s Representative.

 2.2
APPROVED MANUFACTURERS
Approved Products
A.
A & J Washroom Accessories, New Windsor, NY  (914) 562-3332 www.ajwashroom.com
B.
ASI - American Specialties Inc, Yonkers, NY  (914) 476-9000 www.russleahyco.com
C.
Bobrick Washroom Equipment Inc, North Hollywood, CA  (818) 764-1000 www.bobrick.com
D.
Bradley Corp, Menomonee Falls, WI  (414) 251-6000 www.bradleycorp.com
E.
GAMCO - General Accessory Manufacturing Co, Dallas, TX  (800) 451-5766 www.gamcousa.com
F.
McKinney / Parker, Scranton, PA  (570) 969-9770

PART 3 EXECUTION

 3.1
INSTALLATION
Installation
A.
Install items in accordance with Manufacturer's instructions.  Provide mounting devices proper for base structure.

B.
Where possible, mount like items in adjoining compartments back-to-back on same partition.

If mounting locations for these items are shown on the Drawings, delete paragraphs ‘1', ’2', ‘3', and ‘4'

C.
Locate as follows

1.
Toilet Tissue Dispenser  -  One at each water closet.

2. Sanitary Napkin Disposal Containers  -  One at each water closet in Women's Rest Rooms and unisex handicapped Rest Rooms.


END OF SECTION

ADVANCE \d252
B L A N K   P A G E

557-1804 (20020)
3
Section 10811

Orlando Welfare Complex
October 11, 2000
Commercial Toilet Accessories

