Dammon Engineering

1095 Florida Ave.

Slidell, LA 70458

(985) 649-5832

Fax: (985) 641-5950

FAX NUMBER TRANSMITTED TO:       (504) 279-0029
TO:  Allen

FROM:  David Dammon

Reference:   Foundation for Many Randazzo’s Bakery

DATE:  Jul 12, 2005 

No of pages including cover sheet:   1

Allen, 

The addition will be 22’-6” X 25’ reusing existing doors and awning.  The foundation will need 20 Class 5 – 35‘ piles @ 4 tons, the footings will be 18” wide x 24” deep; 1 beam running 25’ long, 18” wide and 24” deep; the slab will be 5” deep using 6x12x0/1 highway mesh. The footings and beam are a little larger than on the original plans but we are using a single beam rather than two beams.

You will have to build a ramp from the parking lot to the level of the new elevation of the doors.  You will also have to relocate the dumpster pad with 6” curbs.  If the health department gets involved the dumpster pad may have to flow into a grease trap and hot & cold water running to the pad.

My suggestion is to move the portable cooler and the dumpster pad prior to getting the new survey.

If you experience any problems receiving this fax, Please call (985) 649-5832 or  

Fax  (985) 641-5950

