DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

January 8, 2011

To: 
Jason Thornhill

REF: Lakeshore Family Dentistry

Dear Mr. Thronhill,


Dammon Engineering approves your request to use Windstorm 7/16” structural sheathing in lieu of the 1/2” Densglass sheathing originally specified in the plans. This change also eliminates the requirement for the originally specified Simpson Strong-tie SP-1 “stud to bottom plate” and SP-2 “stud to top plate” clips.


Please install the above products in strict accordance with the manufacturer requirements.

Sincerely,

Brandon Nowakowski

Dammon Engineering

