
[image: image1.png]



























































June 27, 2011

Pete Dammon

Dammon Engineering 

1095 Florida Avenue

Slidell, LA  70458

RE:  PRTN No: 11-1908  ICFDD Residential Homes Module:


STARC - West


New Construction


1705 Viola Street



Slidell, LA  70460

Dear Mr. Dammon,
 

The plan review for the above referenced project is recommended for tentative approval pending acceptance of noted comments and final on-site inspection by the DHH Division of Health Standards. Both this letter and written approval from the State Fire Marshal will be required by the Division of Health Standards to begin your application process for licensure prior to DHH-HS on-site inspection. 

Intermediate Care Facility for the Developmentally Disabled Projects shall comply with the following:

1. State of Louisiana ICF/MR Minimum Licensing Standards (current edition), and 


2. The Louisiana State Plumbing Code, 2000 Edition. 

It shall be the Owner’s responsibility to maintain the attached red stamped approved drawing(s).  The red stamped approved drawing(s) of all related floor plans must be returned to Health Standards as part of the Facility’s DHH licensing application.  If the red stamped drawing(s) are not returned, a complete plan review resubmittal and fee will be required.

In the event that it is determined at some point in the future that a design error escaped our detection during our review of these plans, that oversight shall not relieve the facility from the responsibil​ity of complete compliance with the requirements of the reference materials listed above.  Construction must commence within 180 days of this dated correspondence; otherwise, this approval will be deemed void.

Sincerely,

Felicia S. Langlois

DHH – Health Standards

Plan Review

c:  Licensing Manager – Madeline Monroe

     Facility Contact Person – Mary McLain

Bobby Jindal


GOVERNOR








Bruce D. Greenstein


SECRETARY











State of Louisiana


Department of Health and Hospitals


Bureau of Health Services Financing








500 Laurel Street • Suite 100 (70801-1811) • P.O. Box 3767 • Baton Rouge, Louisiana 70821-3767

Phone #: 225/342-9029 • Fax #: 225/342-8977 • WWW.DHH.LA.GOV

“An Equal Opportunity Employer”


