Entergy Gas Commercial Customer Load Data Card

Please Complete and Fax To 225.354.3162

Or E-mail to: erheams@entergy.com

DATE: 01/02/14
	Address: 10222 The Grove Blvd Unit 100

	Name:   Erin Warner                Phone # (985)290-7873 

	Acct: 0110947108
	Sent  on 01/07/14
	 Wr: 83000961200

	Contact Name: 
	Phone Number (225)

	Engineering Asst. Leon Rheams
	Date Needed: 

	Service Size 
	Service 
	Size Main: 
	Delivery Pressure: <1.5 psi

	Meter Type: 
	Size: 
	Index:

	Reg Type:  
	Size: 
	Setting: 
	Orifice: 

	Relief Valve Type:
	Size: 
	Relief Setting: 

	House Line Size:  1”
	Meter Spread: 

	

	MAX. PSI TO NEEDED TO OPERATE SINGLE GAS EQUIPMENT: ___12.0___“WC 
SET-DOWN REGULATORS MAY BE REQUIRED

	

	

	

	

	

	

	

	

	

	


	Equipment
	Load

 (BTU’s per hour)
	Load

 (cubic feet per hour)

	Maytag Gas Dryer
	175,000
	175

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	
	
	

	TOTAL LOAD
	175,000
	175


Measurements for Meter installations 500 cfh and above

	Capacity (cfh)
	Service Riser

(Top of valve cock above final grade)
	Distance from wall
	House Line (Height above final grade)
	Spread 

(Riser to house line)

	500 to 2500
	12”
	12”
	34”
	30”

	2500 to 5000
	12”
	18”
	24”
	48”

	5000 to 10000
	12”
	18”
	40”
	60”

	above 10000
	measurements based on individual situation


