[image: image1.jpg]IDAMMON

ENGINEERING | NLC.

J  Archiltectls & Engineers




554 Old Spanish Trail
Slidell, LA 70458

Phone: 985-649-5832

Fax: 985-641-5950

dammonengineering.com

dammoneng@bellsouth.net


October 18, 2013

Attention:  Duncan Welch 

Division of Onsite Wastewater

805 South Wheatley Street, Suite 340

Ridgeland, Ms.  39157

Re: Dreamland Mobile Home Park
    Water System Upgrade
    Wastewater Treatment Facility Upgrade

    Pearl River County, Mississippi

Dear Mr. Welch,

Submitted for your approval are corrections as requested for the Dreamland Mobile Home Park plans and specifications.
Schedule 40 piping shall be utilized in the appropriate areas.

Attached are plans and specifications for a Delta 12,000 GPD wastewater treatment plant.  Please note that the disinfection facility is included with this.
Should you have any questions or if further information is required, please feel free to contact me.
Respectfully,

Brian A. Mistich, P.E.
Mississippi Registration #20971

Xc:  Mr. Jim Weston, Mississippi Department of Health
Bill Kingsmill’s contact information is as follows:
William Kingsmill (kingsmillprop@bellsouth.net)
Cell: (504) 528 3838
1200 Business Highway 190, Suite 13
Covington, LA 70433
 
Lawrence Wm. Haik, Sr
Republic Commercial Properties, LLC                
1539 Royal Palm Dr.
Slidell, LA 70458
(985) 960-7033
 
