Depending on the average operating pressure desired, approximately 60 psi or 50psi) there are two booster pumps recommended :

33GB15 – 7  Stage(+/- 60 psi)

33GB10 – 5 Stage  (+/- 50 psi)

33GB PERFORMANCE CURVES

Recommended Chemical Injection unit for Disinfection

STENNER Model  #45MPHP2