## Original
FINAL TABULATION
Location |  | Cost per Unit | Clean & TV | CIPP | Cut CIPP Serv Connection | Point Repair | Manhole Repair | Manhole Coating | Lift Station | Force Main | Service Lateral | Service Ties | Misc. | Total
Bonds/Ins/Mobile |  | 20000 | [11 empty] | 20000
Field Engineering |  | 10000 | [11 empty] | 10000
Storage Container | [12 empty] | 3500 | 3500
By-Pass Pumping 4" |  | 7000 | [11 empty] | 7000
MH-19 |  |  |  |  | 1000 |  | 1000 | 3000 | [5 empty] | 5000
MH19-MH15 26.8ft Tap Break-In |  |  |  |  | 250 | [8 empty] | 250
MH19-MH15 60.6ft Tap Break-In |  |  |  |  | 250 | 500 | [7 empty] | 750
MH19-MH15 107.3ft Tap Factory |  |  |  |  | 250 | 3000 | [7 empty] | 3250
MH19-MH15 190.0ft Tap Factory |  |  |  |  | 250 | 3000 | [7 empty] | 3250
MH19-MH15 321.0 linear ft |  |  | 1123.5 | 14445 | [9 empty] | 15568.5
MH-15 |  |  |  |  | 1000 |  | 1000 | 3000 |  |  |  |  | 500 | 5500
MH16-MH15 34.8ft 6"TAP Factory Broken |  |  |  |  | 250 | 3000 | [6 empty] | 500 | 3750
MH16-MH15 106.0ft 6"TAP Factory |  |  |  |  | 250 | [8 empty] | 250
MH16-MH15 223.0 linear ft |  |  | 780.5 | 10035 | [9 empty] | 10815.5
MH-16 |  |  |  |  | 500 |  | 1000 | 3000 |  |  |  |  | 1250 | 5750
MH17-MH16 34.8 to MH-16 Water Level Sag (20ft) | [5 empty] | 15000 | [7 empty] | 15000
MH17-MH16 62.0 linear ft |  |  | 217 | 2790 | [9 empty] | 3007
MH-17 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 500 | 5250
MH18-MH17 89.1 to 113.5 Water Level Sag (30ft) | [5 empty] | 22500 | [7 empty] | 22500
MH18-MH17 184.0 linear ft |  |  | 644 | 8280 | [9 empty] | 8924
MH-18 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 500 | 5250
MH18-MH12 44.0ft TAP Break-In Abandon | [5 empty] | 3000 | [7 empty] | 3000
MH18-MH12 88.0 to 100.0 Water Level Sag (12ft) | [5 empty] | 9000 | [7 empty] | 9000
MH18-MH12 100.8ft Tap Factory |  |  |  |  | 250 | [8 empty] | 250
MH18-MH12 158.0 to 175.0 Water Level Sag (17ft) | [5 empty] | 12750 | [7 empty] | 12750
MH18-MH12 232.0 linear ft |  |  | 812 | 10440 | [9 empty] | 11252
MH-12 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 2500 | 7250
MH12-MH21 62.0 linear ft |  |  | 217 | 2790 | [9 empty] | 3007
MH-24 |  |  |  |  | 500 |  | 1000 | 3000 |  |  |  |  | 750 | 5250
MH-25 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 750 | 5500
Admin Restroom | [10 empty] | 5170 | 500 |  | 5670
Bldg 1 | [10 empty] | 2525 | 2000 | 2000 | 6525
Bldg 3 GYMNASIUM | [8 empty] | 7500 | 3162.5 | 3458 | 1000 | 500 | 15620.5
Bldg 5 Building K | [5 empty] | 1000 |  |  | 22500 | 4743.75 | 2700 | 1000 | 1500 | 33443.75
Bldg 6 Residence | [10 empty] | 2975 | 500 |  | 3475
Bldg 7 Residence | [10 empty] | 1950 |  |  | 1950
Bldg 8 Residence | [10 empty] | 425 |  |  | 425
Bldg 11 Old School | [5 empty] | 500 |  |  |  |  | 425 | 500 |  | 1425
Bldg 10 Movie |  |  | 91 |  |  | 1000 | [7 empty] | 1091
Bldg 9 Old School |  |  | 262.5 |  |  | 1000 | [7 empty] | 1262.5
Bldg 2 LSU | [5 empty] | 1000 |  |  |  |  | 700 |  | 500 | 2200
Bldg 12 Old School | [5 empty] | 1500 |  |  |  |  | 500 | 500 | 750 | 3250
Bldg 13 Dining Hall | [10 empty] | 17850 | 1000 | 2000 | 20850
Bldg 14 & 15 Bldg J | [8 empty] | 7500 | 2362.5 | 8415 | 2000 | 2000 | 22277.5
Bldg 18 to Bldg J | [10 empty] | 1855 | 500 | 500 | 2855
Bldg 18 INFIRMARY | [8 empty] | 7500 | 1350 | 350 | 500 | 1500 | 11200
Bldg 17 RESIDENCE | [10 empty] | 900 | 500 | 1250 | 2650
Bldg 19 RESIDENCE | [5 empty] | 200 | [5 empty] | 500 |  | 700
Bldg 20 Residence | [10 empty] | 1500 | 500 | 750 | 2750
Bldg 21 Mechanical | [8 empty] | 7500 | 1125 | 250 |  | 500 | 9375
Bldg 27 Fitness | [10 empty] | 4375 |  | 1000 | 5375
Spare pump for new lift stations | [12 empty] | 2000 | 2000
Abandoned Pump Station Repairs | [12 empty] | 2000 | 2000
Totals |  | 37000 | 4147.5 | 48780 | 7750 | 77950 | 8000 | 24000 | 52500 | 12743.75 | 56323 | 11500 | 29500 | 370194.25
Unit
Pipe | 7.9 | L.F. | 7.9
Excavating | 80 | Cubic Yard | 160
Shoring | 1.18 | S.F.
BackFill | 2.54 | Cubic Yard | 5.08
|  |  | 172.98 | 691.92

## Plumbing
FINAL TABULATION
Location |  | Cost per Unit | Clean & TV | Point Repair | Manhole Repair | Manhole Coating | Lift Station | Force Main | Service Lateral | Service Ties | Misc. | Total
Bonds/Ins/Mobile |  | 20000 | [9 empty] | 20000
Field Engineering |  | 10000 | [9 empty] | 10000
Storage Container | [10 empty] | 3500 | 3500
By-Pass Pumping 4" |  | 7000 | [9 empty] | 7000
MH19-MH15 60.6ft Tap Break-In |  |  |  | 500 | [7 empty] | 500
MH19-MH15 107.3ft Tap Factory |  |  |  | 3000 | [7 empty] | 3000
MH19-MH15 190.0ft Tap Factory |  |  |  | 3000 | [7 empty] | 3000
MH16-MH15 34.8ft 6"TAP Factory Broken |  |  |  | 3000 | [6 empty] | 500 | 3500
Admin Restroom | [8 empty] | 5170 | 500 |  | 5670
Bldg 1 | [8 empty] | 2525 | 2000 | 2000 | 6525
Bldg 3 GYMNASIUM | [6 empty] | 7500 | 3162.5 | 3458 | 1000 | 500 | 15620.5
Bldg 5 Building K |  |  |  | 1000 |  |  | 22500 | 4743.75 | 2700 | 1000 | 1500 | 33443.75
Bldg 6 Residence | [8 empty] | 2975 | 500 |  | 3475
Bldg 7 Residence | [8 empty] | 1950 |  |  | 1950
Bldg 8 Residence | [8 empty] | 425 |  |  | 425
Bldg 11 Old School |  |  |  | 500 |  |  |  |  | 425 | 500 |  | 1425
Bldg 10 Movie |  |  | 91 | 1000 | [7 empty] | 1091
Bldg 9 Old School |  |  | 262.5 | 1000 | [7 empty] | 1262.5
Bldg 2 LSU |  |  |  | 1000 |  |  |  |  | 700 |  | 500 | 2200
Bldg 12 Old School |  |  |  | 1500 |  |  |  |  | 500 | 500 | 750 | 3250
Bldg 13 Dining Hall | [8 empty] | 17850 | 1000 | 2000 | 20850
Bldg 14 & 15 Bldg J | [6 empty] | 7500 | 2362.5 | 8415 | 2000 | 2000 | 22277.5
Bldg 18 to Bldg J | [8 empty] | 1855 | 500 | 500 | 2855
Bldg 18 INFIRMARY | [6 empty] | 7500 | 1350 | 350 | 500 | 1500 | 11200
Bldg 17 RESIDENCE | [8 empty] | 900 | 500 | 1250 | 2650
Bldg 19 RESIDENCE |  |  |  | 200 | [5 empty] | 500 |  | 700
Bldg 20 Residence | [8 empty] | 1500 | 500 | 750 | 2750
Bldg 21 Mechanical | [6 empty] | 7500 | 1125 | 250 |  | 500 | 9375
Bldg 27 Fitness | [8 empty] | 4375 |  | 1000 | 5375
Spare pump for new lift stations | [10 empty] | 2000 | 2000
Abandoned Pump Station Repairs | [10 empty] | 2000 | 2000
Totals |  | 37000 | 353.5 | 15700 | 0 | 0 | 52500 | 12743.75 | 56323 | 11500 | 22750 | 208870.25 | W/O Bonds Insurance
168370.25
Unit
Pipe | 7.9 | L.F. | 7.9
Excavating | 80 | Cubic Yard | 160
Shoring | 1.18 | S.F.
BackFill | 2.54 | Cubic Yard | 5.08
172.98

## Public Works
FINAL TABULATION
Location |  | Cost per Unit | Clean & TV | CIPP | Cut CIPP Serv Connection | Point Repair | Manhole Repair | Manhole Coating | Lift Station | Force Main | Service Lateral | Service Ties | Misc. | Total
Bonds/Ins/Mobile |  | 20000 | [11 empty] | 20000
Field Engineering |  | 10000 | [11 empty] | 10000
Storage Container | [12 empty] | 3500 | 3500
By-Pass Pumping 4" |  | 7000 | [11 empty] | 7000
MH-19 |  |  |  |  | 1000 |  | 1000 | 3000 | [5 empty] | 5000
MH19-MH15 26.8ft Tap Break-In |  |  |  |  | 250 | [8 empty] | 250
MH19-MH15 60.6ft Tap Break-In |  |  |  |  | 250 | [8 empty] | 250
MH19-MH15 107.3ft Tap Factory |  |  |  |  | 250 | [8 empty] | 250
MH19-MH15 190.0ft Tap Factory |  |  |  |  | 250 | [8 empty] | 250
MH19-MH15 321.0 linear ft |  |  | 1123.5 | 14445 | [9 empty] | 15568.5
MH-15 |  |  |  |  | 1000 |  | 1000 | 3000 |  |  |  |  | 500 | 5500
MH16-MH15 34.8ft 6"TAP Factory Broken |  |  |  |  | 250 | [8 empty] | 250
MH16-MH15 106.0ft 6"TAP Factory |  |  |  |  | 250 | [8 empty] | 250
MH16-MH15 223.0 linear ft |  |  | 780.5 | 10035 | [9 empty] | 10815.5
MH-16 |  |  |  |  | 500 |  | 1000 | 3000 |  |  |  |  | 1250 | 5750
MH17-MH16 34.8 to MH-16 Water Level Sag (20ft) | [5 empty] | 15000 | [7 empty] | 15000
MH17-MH16 62.0 linear ft |  |  | 217 | 2790 | [9 empty] | 3007
MH-17 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 500 | 5250
MH18-MH17 89.1 to 113.5 Water Level Sag (30ft) | [5 empty] | 22500 | [7 empty] | 22500
MH18-MH17 184.0 linear ft |  |  | 644 | 8280 | [9 empty] | 8924
MH-18 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 500 | 5250
MH18-MH12 44.0ft TAP Break-In Abandon | [5 empty] | 3000 | [7 empty] | 3000
MH18-MH12 88.0 to 100.0 Water Level Sag (12ft) | [5 empty] | 9000 | [7 empty] | 9000
MH18-MH12 100.8ft Tap Factory |  |  |  |  | 250 | [8 empty] | 250
MH18-MH12 158.0 to 175.0 Water Level Sag (17ft) | [5 empty] | 12750 | [7 empty] | 12750
MH18-MH12 232.0 linear ft |  |  | 812 | 10440 | [9 empty] | 11252
MH-12 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 2500 | 7250
MH12-MH21 62.0 linear ft |  |  | 217 | 2790 | [9 empty] | 3007
MH-24 |  |  |  |  | 500 |  | 1000 | 3000 |  |  |  |  | 750 | 5250
MH-25 |  |  |  |  | 750 |  | 1000 | 3000 |  |  |  |  | 750 | 5500
Abandoned Pump Station Repairs | [12 empty] | 2000 | 2000
Totals |  | 37000 | 3794 | 48780 | 7750 | 62250 | 8000 | 24000 | 0 | 0 | 0 | 0 | 12250 | 203824 | W/O Bonds Insurance
163324
Unit
Pipe | 7.9 | L.F. | 7.9
Excavating | 80 | Cubic Yard | 160
Shoring | 1.18 | S.F.
BackFill | 2.54 | Cubic Yard | 5.08
|  |  | 172.98 | 691.92