Site Access and Procedures

1. Contractor shall utilize the Staging Area indicated on Site Plan for site access through perimeter security fencing, or storage of materials and equipment.

2. Contractor shall be responsible for securing all stored items, equipment, etc., within Staging Area and be fully insured for any loss.

3. Contractor shall modify existing perimeter security fence and provide a double gated sally port to access the site from the Staging Area. Sally Port and gates be of sufficient dimension to allow for largest truck and/or equipment to access site without opening both gates at the same time. The Sally Port fence and gates shall be built from the same materials, and offer the same level of security as the existing perimeter fence. Sally Port fencing shall be 10' high with razor wire. Gates shall have a removable top to allow for tall vehicles, if required. Contractor shall repair existing perimeter security fence to match existing conditions at completion of project. Protect existing paving, sidewalks, etc. Restore all existing surfaces and materials to original conditions at completion of project.

4. Contractor shall coordinate and schedule all large trucks and/or equipment accessing the site through delivery Sally Port with the Owner's security guards. Security guards are required to be at gate for all deliveries and the and the transfer of workers and materials, etc.

5. No vehicle parking except for required construction equipment, is allowed within the perimeter of the security fence. Coordinate with Owner.

6. No contractor, or contractor's employees, will be allowed to park in the staff or visitor parking lots. Contractor parking will be allowed adjacent to staging areas, subject to owner's approval.

7. Contractor shall be allowed access to the site by means of an existing drive, (Westwego Ave.), through a gate manned by BCCY personnel. Ingress and egress of vehicles shall be coordinated with facility.

8. All contractor and sub-contractor employees entering the BCCY site will be subject to, and must pass, an NCIC background check prior to gaining access to the secure grounds. Personnel information must be submitted three days in advance, as background check and approval can not be granted immediately. See Office of Juvenile Justice Memorandum in Specification Manual.

