STATE OF LOUISIANA

BRIDGE CITY CENTER FOR YOUTH

SEWER SYSTEM RENOVATION

BRIDGE CITY, LOUISIANA

PROJECT NO. 08-403-11-01, PART 01 AND 08-403-04B-01, PART 20


Copyright 2011 by The American Institute of Architects (AIA)

Exclusively published and distributed by Architectural Computer Services, Inc. (ARCOM) for the AIA

SECTION 31 50 00 - EXCAVATION SUPPORT AND PROTECTION
Revise this Section by deleting and inserting text to meet Project-specific requirements.

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

PART 1 -  GENERAL

1.1 SUMMARY

A. Section includes temporary excavation support and protection systems.

1.2 PREINSTALLATION MEETINGS

A. Preinstallation Conference: Conduct conference at project site.

PART 2 -  PRODUCTS

2.1 PERFORMANCE REQUIREMENTS

Revise this article according to requirements of authorities having jurisdiction and customary practice in Project's location.

A. Provide, design, monitor, and maintain excavation support and protection system capable of supporting excavation sidewalls and of resisting earth and hydrostatic pressures and superimposed and construction loads.

PART 3 -  EXECUTION

3.1 BRACING

A. Bracing: Locate bracing to clear columns, floor framing construction, and other permanent work. If necessary to move brace, install new bracing before removing original brace.

1. Do not place bracing where it will be cast into or included in permanent concrete work unless otherwise approved by Architect.

2. Install internal bracing if required to prevent spreading or distortion of braced frames.

3. Maintain bracing until structural elements are supported by other bracing or until permanent construction is able to withstand lateral earth and hydrostatic pressures.

3.2 REMOVAL AND REPAIRS

Retain first paragraph below if removal of excavation support and protection systems is required.

A. Remove excavation support and protection systems when construction has progressed sufficiently to support excavation and earth and hydrostatic pressures. Remove in stages to avoid disturbing underlying soils and rock or damaging structures, pavements, facilities, and utilities.

Retain subparagraph below if required. Some jurisdictions require removing excavation support and protection systems within 48 inches (1200 mm) of finish grade.

END OF SECTION 31 50 00

	EXCAVATION SUPPORT AND PROTECTION
	31 50 00 - 1



