Owner

Engineer

Consultant

Contractor

PROJECT:

HVAC System Replacement

State Police Troop L Headquarters

Mandeville, Louisiana

FIELD REPORT NUMBER:		015

FP&C PROJECT NUMBER:	01-107-06B-11

DATE:  6/7/2022		TIME:  9:30 Am	 WEATHER :  Sun	TEMP  :  85

1 Year Warranty Inspection

Attendees:  	Lt Russell Mayfield, State Police Troop L

David Dammon, Dammon Engineering

Bill Winsor, Dammon Engineering

OBSERVATIONS:

- A review of the primary project was discussed and no issues with this project were noted.

- The site was having some issues with the chiller; however, the chiller was not part of this contract.

- They are having difficulties when changing the air filters on the air handler and would like to have another access door installed.  This would not be covered under warranty.  Dammon Engineering will contact the contractor to get a cost to add another access door on the opposite side of air handling unit.