FEDERAL PACIFIC FPE FUSIBLE PANELBOARD SWITCH 100 AMP 600V 3 POLE CATALOG NUMBER: QMQB1136RPRODUCT DESCRIPTION QMQB1136R, Federal Pacific, QMQB Series panel mount switches, type QMQB, "R" style, 3PH, 3P, 600V, 100A, 200kA@480V, nema 1, fusible type, accepts class H, K, J, R fuses, dual/twin style, suitable for use with QMQB and FDP style panel boards and switchgear distribution systems   THIS SWITCH IS IN RECON\TESTED CONDITION.  FUSES CAN BE PROVIDED BUT NOT INCLUDED