CITY OF SLIDELL

CDBG PHASE U – 5000-23 SIDEWALK & DRAINAGE

IMPROVEMENTS PROJECT

DISTRICT A / LINCOLN PARK
SLIDELL LA  70458


SECTION 02751
CEMENT CONCRETE PAVEMENT
Copyright 2002, The American Institute of Architects (AIA)

This Section uses the term "Architect." Change this term to match that used to identify the design professional as defined in the General and Supplementary Conditions.

Verify that Section titles referenced in this Section are correct for this Project's Specifications; Section titles may have changed.

PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes exterior cement concrete pavement for the following:
Adjust list below to suit Project.

1. Walkways.

B. Related Sections include the following:

List below only products and construction that the reader might expect to find in this Section but are specified elsewhere.

1. Division 2 Section "Earthwork" for subgrade preparation, grading, and subbase course.

1.3 DEFINITIONS

Definition below refers to those materials that make up cementitious component of water-cementitious materials ratio.

A. Cementitious Materials:  Portland cement alone or in combination with one or more of blended hydraulic cement, fly ash and other pozzolans, and ground granulated blast-furnace slag.

1.4 SUBMITTALS

A. Product Data:  For each type of manufactured material and product indicated.

B. Design Mixtures:  For each concrete pavement mixture.  Include alternate mixture designs when characteristics of materials, Project conditions, weather, test results, or other circumstances warrant adjustments.

Coordinate paragraph below with qualification requirements in Division 1 Section "Quality Requirements" and as supplemented in "Quality Assurance" Article.

1.5 QUALITY ASSURANCE

A. Manufacturer Qualifications:  Manufacturer of ready-mixed concrete products who complies with ASTM C 94/C 94M requirements for production facilities and equipment.

Delete subparagraph below if not required.

1. Manufacturer certified according to NRMCA's "Certification of Ready Mixed Concrete Production Facilities."

Retain first paragraph below if Contractor or manufacturer selects testing agency.

B. ACI Publications:  Comply with ACI 301, "Specification for Structural Concrete," unless modified by requirements in the Contract Documents.

Delete paragraph and subparagraphs below if not required.  If retaining, indicate location, size, and other details of mockups on Drawings or by inserts.  Revise wording if only one mockup is required.

C. Mockups:  Cast mockups of full-size sections of concrete pavement to demonstrate typical joints, surface finish, texture, color, and standard of workmanship.

1. Build mockups in the location and of the size indicated or, if not indicated, as directed by Architect.

2. Notify Architect seven days in advance of dates and times when mockups will be constructed.

3. Obtain Architect's approval of mockups before starting construction.

4. Maintain approved mockups during construction in an undisturbed condition as a standard for judging the completed pavement.

Delete subparagraph above or below.

5. Approved mockups may become part of the completed Work if undisturbed at time of Substantial Completion.

Preinstallation conference in paragraph below is desirable for major concrete pavement installations because it helps minimize misunderstandings and reviews Project conditions that might lead to significant problems.  Delete paragraph and subparagraphs below if Work of this Section is not extensive or complex enough to justify a preinstallation conference.  If retaining, coordinate with Division 1.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination."

Retain subparagraph and associated subparagraphs below if warranted by complexity of mixture design and quality control of concrete materials.

1. Before submitting design mixtures, review concrete pavement mixture design and examine procedures for ensuring quality of concrete materials and concrete pavement construction practices.  Require representatives, including the following, of each entity directly concerned with concrete pavement, to attend conference:

a. Contractor's superintendent.

b. Concrete pavement subcontractor.

1.6 PROJECT CONDITIONS

Delete this Article if not required.

A. Traffic Control:  Maintain access for vehicular and pedestrian traffic as required for other construction activities.

PART 2 -  PRODUCTS

2.1 FORMS

Delete or revise materials in this Article to suit Project.

A. Form Materials:  Plywood, metal, metal-framed plywood, or other approved panel-type materials to provide full-depth, continuous, straight, smooth exposed surfaces.

1. Use flexible or curved forms for curves with a radius 100 feet or less.

B. Form-Release Agent:  Commercially formulated form-release agent that will not bond with, stain, or adversely affect concrete surfaces and will not impair subsequent treatments of concrete surfaces.

2.2 CONCRETE MATERIALS

Retain option in paragraph below if final choice of cementitious material will be Contractor's option.

A. Cementitious Material:  Use one of the following cementitious materials, of the same type, brand, and source throughout the Project:

1. Portland Cement:  ASTM C 150, Type II gray.   Supplement with the following:

a. Fly Ash:  ASTM C 618, Class C.

b. Ground Granulated Blast-Furnace Slag:  ASTM C 989, Grade 100 or 120.

B. Normal-Weight Aggregates:  ASTM C 33, uniformly graded.  Provide aggregates from a single source.

1. Maximum Coarse-Aggregate Size:  1 inch nominal.

Retain subparagraph below if optional restriction in ASTM C 33 is required.

2. Fine Aggregate:  Free of materials with deleterious reactivity to alkali in cement.

C. Water:  ASTM C 94/C 94M.

D. Air-Entraining Admixture:  ASTM C 260.

E. Chemical Admixtures:  Provide admixtures certified by manufacturer to be compatible with other admixtures and to contain not more than 0.1 percent water-soluble chloride ions by mass of cementitious material.

Select one or more chemical admixtures from six subparagraphs below.

1. Water-Reducing Admixture:  ASTM C 494/C 494M, Type A.

2. Retarding Admixture:  ASTM C 494/C 494M, Type B.

3. Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type D.

4. High-Range, Water-Reducing Admixture:  ASTM C 494/C 494M, Type F.

5. High-Range, Water-Reducing and Retarding Admixture:  ASTM C 494/C 494M, Type G.

6. Plasticizing and Retarding Admixture:  ASTM C 1017/C 1017M, Type II.
7. Synthetic micro polypropylene fibrous reinforcing admixtures: ASTM C1116.
2.3 CURING MATERIALS

Select curing aids and materials from this Article.

A. Absorptive Cover:  AASHTO M 182, Class 2, burlap cloth made from jute or kenaf, weighing approximately 9 oz./sq. yd.  dry.

B. Moisture-Retaining Cover:  ASTM C 171, polyethylene film or white burlap-polyethylene sheet.

C. Water:  Potable.

Evaporation retarder in paragraph below temporarily reduces moisture loss from concrete surfaces awaiting finishing in hot, dry, and windy conditions.  Evaporation retarders are neither curing compounds nor chemical surface retarders used to delay concrete setting.

D. Evaporation Retarder:  Waterborne, monomolecular film forming; manufactured for application to fresh concrete.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Available Products:

a. Axim Concrete Technologies; Cimfilm.

b. Burke by Edeco; BurkeFilm.

c. ChemMasters; Spray-Film.

d. Conspec Marketing & Manufacturing Co., Inc.; Aquafilm.

e. Dayton Superior Corporation; Sure Film.

f. Euclid Chemical Company (The); Eucobar.

g. Kaufman Products, Inc.; Vapor Aid.

h. Lambert Corporation; Lambco Skin.

i. L&M Construction Chemicals, Inc.; E-Con.

j. MBT Protection and Repair, ChemRex Inc.; Confilm.

k. Meadows, W. R., Inc.; Sealtight Evapre.

l. Metalcrete Industries; Waterhold.

m. Nox-Crete Products Group, Kinsman Corporation; Monofilm.

n. Sika Corporation, Inc.; SikaFilm.

o. Symons Corporation; Finishing Aid.

p. Vexcon Chemicals, Inc.; Certi-Vex EnvioAssist.

Retain paragraph below if a dissipating-type waterborne membrane-forming curing compound is required.  While EPA mandates maximum VOC emissions of 350 g/L for this product category, verify that it meets curing compound VOC emission limits of authorities having jurisdiction.  If appearance of pavement is important before breakdown and disappearance of curing membrane, verify rate of dissipation with manufacturers.

E. Clear Waterborne Membrane-Forming Curing Compound:  ASTM C 309, Type 1, Class B.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Available Products:

a. Anti-Hydro International, Inc.; AH Curing Compound #2 DR WB.

b. Burke by Edoko; Aqua Resin Cure.

c. ChemMasters; Safe-Cure Clear.

d. Conspec Marketing & Manufacturing Co., Inc.; W.B. Resin Cure.

e. Dayton Superior Corporation; Day Chem Rez Cure (J-11-W).

f. Euclid Chemical Company (The); Kurez DR VOX.

g. Kaufman Products, Inc.; Thinfilm 420.

h. Lambert Corporation; Aqua Kure-Clear.

i. L&M Construction Chemicals, Inc.; L&M Cure R.

j. Meadows, W. R., Inc.; 1100 Clear.

k. Nox-Crete Products Group, Kinsman Corporation; Resin Cure E.

l. Symons Corporation; Resi-Chem Clear.

m. Tamms Industries Inc.; Horncure WB 30.

n. Unitex; Hydro Cure 309.

o. Vexcon Chemicals, Inc.; Certi-Vex Enviocure 100.

Retain paragraph below if a white waterborne membrane-forming curing compound is required.  Retain if greater reflectivity is required.  Review product choices because some dissipate and others are abraded by traffic.  While EPA mandates maximum VOC emissions of 350 g/L for this product category, verify that it meets curing compound VOC emission limits of authorities having jurisdiction.

F. White Waterborne Membrane-Forming Curing Compound:  ASTM C 309, Type 2, Class B.

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. Available Products:

a. Anti-Hydro International, Inc.; AH Curing Compound #2 WP WB.

b. Burke by Edoco; Resin Emulsion White.

c. ChemMasters; Safe-Cure 2000.

d. Conspec Marketing & Manufacturing Co., Inc.; W.B. Resin Cure.

e. Dayton Superior Corporation; Day-Chem White Pigmented Cure (J-10-W).

f. Euclid Chemical Company (The); Kurez VOX White Pigmented.

g. Kaufman Products, Inc.; Thinfilm 450.

h. Lambert Corporation; Aqua Kure-White.

i. L&M Construction Chemicals, Inc.; L&M Cure R-2.

j. Meadows, W. R., Inc.; 1200-White.

k. Symons Corporation; Resi-Chem White.

l. Tamms Industries, Inc.; Horncure 200-W.

m. Unitex; Hydro White.

n. Vexcon Chemicals, Inc.; Certi-Vex Enviocure White 100.

2.4 RELATED MATERIALS

Select one or all options in paragraph below.

A. Expansion- and Isolation-Joint-Filler Strips:  ASTM D 1751, asphalt-saturated cellulosic fiber or ASTM D 1752, cork or self-expanding cork.

Retain first paragraph below for integrally colored concrete pavement.

Retain paragraph below for exposed-aggregate finish requiring surface retarder.  This retarder is not an evaporative retarder.

B. Chemical Surface Retarder:  Water-soluble, liquid-set retarder with color dye, for horizontal concrete surface application, capable of temporarily delaying final hardening of concrete to a depth of 1/8 to 1/4 inch .

Coordinate subparagraph and list below with Part 2 "Manufacturers" Article.  Retain "Available" for nonproprietary and delete for semiproprietary specifications.

1. AvailableProducts:

a. Burke by Edeco; True Etch Surface Retarder.

b. ChemMasters; Exposee.

c. Conspec Marketing & Manufacturing Co., Inc.; Delay S.

d. Euclid Chemical Company (The); Surface Retarder S.

e. Kaufman Products, Inc.; Expose.

f. Metalcrete Industries; Surftard.

g. Nox-Crete Products Group, Kinsman Corporation; Crete-Nox TA.

h. Scofield, L. M. Company; Lithotex.

i. Sika Corporation, Inc.; Rugasol-S.

j. Vexcon Chemicals, Inc.; Certi-Vex Envioset.

2.5 PAVEMENT MARKINGS

Some formulations of waterborne emulsions are very quick drying, others less so; see manufacturer's literature.

A. Pavement-Marking Paint:  Latex, waterborne emulsion, lead and chromate free, ready mixed, complying with FS TT-P-1952, with drying time of less than 45 minutes.

Select colors from options in subparagraph below; show locations on Drawings if more than one color is required.

1. Color: As required by local authorities.

Add product requirements here for permanent-marking tapes or thermoplastic paints if required.  See Evaluations.

2.6 CONCRETE MIXTURES

A. Prepare design mixtures, proportioned according to ACI 301, for each type and strength of normal-weight concrete determined by either laboratory trial mixes or field experience.

1. Use a qualified independent testing agency for preparing and reporting proposed concrete mixture designs for the trial batch method.

B. Proportion mixtures to provide normal-weight concrete with the following properties:

Select strength from options in subparagraph below or revise to suit Project.  Add flexural strength if required.

1. Compressive Strength (28 Days):  See Plans.

Select water-cementitious materials ratio from options in subparagraph below or revise to suit Project.  Select first option for concrete exposed to deicers or subject to freezing and thawing while moist.  Select second for concrete required to have low water permeability.

2. Maximum Water-Cementitious Materials Ratio at Point of Placement:  0.50.

Select slump limit from options in subparagraph below or revise to suit Project.

3. Slump Limit: 5 inches, plus or minus 1 inch .

Delete paragraph and subparagraphs below if concrete pavement will not be exposed to freeze-thaw cycling or deicing chemicals and if the beneficial effects of air entrainment, such as workability or cohesion of concrete mixture, are not required.

C. Add air-entraining admixture at manufacturer's prescribed rate to result in normal-weight concrete at point of placement having an air content as follows:

Percentages in options in three subparagraphs below are based on ACI 301 for exposure severity and aggregate size. Retain first option for severe exposure, second for moderate exposure, and third for mild exposure.  See Evaluations for exposure definitions.

1. Air Content:  5-1/2 percent plus or minus 1.5 percent for 1-1/2-inch  nominal maximum aggregate size.

Retain first option in first paragraph below if concrete pavement will be exposed to chlorides in service; retain second for concrete pavement that will not be dry or protected from moisture in service.  Percentages are derived from ACI 301.

D. Limit water-soluble, chloride-ion content in hardened concrete to 0.15 or 0.30 percent by weight of cement.

E. Chemical Admixtures:  Use admixtures according to manufacturer's written instructions.

Delete or revise subparagraphs below to suit Project.

1. Use water-reducing admixture in concrete, as required, for placement and workability.

2. Use water-reducing and retarding admixture when required by high temperatures, low humidity, or other adverse placement conditions.

Retain paragraph and subparagraphs below if applicable.  ACI 301 sets no limits on amounts of cementitious or mineral admixtures that can replace portland cement unless concrete is exposed to deicing chemicals.

F. Cementitious Materials:  Limit percentage, by weight, of cementitious materials other than portland cement according to ACI 301 requirements as follows:

Revise percentages in three subparagraphs below to suit Project.  Percentages are ACI 301 limits for concrete exposed to deicing chemicals.  Retain first subparagraph if either fly ash or blended hydraulic cement, pozzolan Type IP or I (PM), is specified.  Retain second if either ground granulated blast-furnace slag or blended hydraulic cement, Type IS or I (SM), is specified.  Retain third if fly ash or pozzolan-type blended hydraulic cement is specified with ground granulated blast-furnace slag.

1. Fly Ash or Pozzolan:  25 percent.

2. Ground Granulated Blast-Furnace Slag:  50 percent.

3. Combined Fly Ash or Pozzolan, and Ground Granulated Blast-Furnace Slag:  50 percent, with fly ash or pozzolan not exceeding 25 percent.

2.7 CONCRETE MIXING

Retain option in paragraph below if synthetic fibers are required.

A. Ready-Mixed Concrete:  Measure, batch, and mix concrete materials and concrete according to ASTM C 94/C 94M and ASTM C 1116.  Furnish batch certificates for each batch discharged and used in the Work.

1. When air temperature is between 85 deg F  and 90 deg F , reduce mixing and delivery time from 1-1/2 hours to 75 minutes; when air temperature is above 90 deg F , reduce mixing and delivery time to 60 minutes.

Delete Project-site mixing below if not permitted.  ACI 301 applies requirements in ASTM C 94/C 94M to site-produced concrete.

PART 3 -  EXECUTION

3.1 EXAMINATION

A. Examine exposed subgrades and subbase surfaces for compliance with requirements for dimensional, grading, and elevation tolerances.

Revise requirements in first paragraph and subparagraphs below if concrete walkways or similar lightly loaded pavements do not require this degree of proof-rolling.

B. Proceed with concrete pavement operations only after nonconforming conditions have been corrected and subgrade is ready to receive pavement.

3.2 PREPARATION

A. Remove loose material from compacted subbase surface immediately before placing concrete.

3.3 EDGE FORMS AND SCREED CONSTRUCTION

A. Set, brace, and secure edge forms, bulkheads, and intermediate screed guides for pavement to required lines, grades, and elevations.  Install forms to allow continuous progress of work and so forms can remain in place at least 24 hours after concrete placement.

B. Clean forms after each use and coat with form-release agent to ensure separation from concrete without damage.

3.4 JOINTS

Coordinate joint types, descriptions, and locations with Drawings.  Three types of joints and tool edgings have been consolidated in this Article for consistency rather than for strict sequence of installation.

A. General:  Form construction, isolation, and contraction joints and tool edgings true to line with faces perpendicular to surface plane of concrete.  Construct transverse joints at right angles to centerline, unless otherwise indicated.

1. When joining existing pavement, place transverse joints to align with previously placed joints, unless otherwise indicated.

B. Construction Joints:  Set construction joints at side and end terminations of pavement and at locations where pavement operations are stopped for more than one-half hour unless pavement terminates at isolation joints.

Retain one or more of three subparagraphs below.  Consider butt joints for joints not subject to traffic.

1. Butt Joints:  Use bonding agent at joint locations where fresh concrete is placed against hardened or partially hardened concrete surfaces.

Retain subparagraph below for low-traffic areas if applicable.  Keyed joints are not capable of significant load transfer at joint and are not recommended by ACI 302.1R for concrete less than 6 inches (150 mm) thick.

2. Keyed Joints:  Provide preformed keyway-section forms or bulkhead forms with keys, unless otherwise indicated.  

Retain subparagraph below for load-transfer doweled joints.  Revise if precoated dowels are required.

C. Isolation Joints:  Form isolation joints of preformed joint-filler strips abutting concrete curbs, catch basins, manholes, inlets, structures, walks, other fixed objects, and where indicated.

Expansion joints are types of isolation joints.  Revise spacing in first subparagraph below to suit Project or delete if not required.

1. Locate expansion joints at intervals of 20 feet, unless otherwise indicated.

2. Extend joint fillers full width and depth of joint.

3. Terminate joint filler not less than 1/2 inch  or more than 1 inch below finished surface if joint sealant is indicated.

4. Place top of joint filler flush with finished concrete surface if joint sealant is not indicated.

5. Furnish joint fillers in one-piece lengths.  Where more than one length is required, lace or clip joint-filler sections together.

6. Protect top edge of joint filler during concrete placement with metal, plastic, or other temporary preformed cap.  Remove protective cap after concrete has been placed on both sides of joint.

Terms "contraction joint" and "control joint" have been used interchangeably in the past.  Recent ACI documents use the term "contraction joint."  Revise description in paragraph below if the term "control joint" is preferred.

D. Contraction Joints:  Form weakened-plane contraction joints, sectioning concrete into areas as indicated.  Construct contraction joints for a depth equal to at least one-fourth of the concrete thickness, as follows:

Select type of joint-forming method required from first two subparagraphs below, or retain both at Contractor's option.  Add spacing of joints if not indicated on Drawings.

1. Grooved Joints:  Form contraction joints after initial floating by grooving and finishing each edge of joint with grooving tool to a 1/4-inch radius.  Repeat grooving of contraction joints after applying surface finishes.  Eliminate groover marks on concrete surfaces.

Delete subparagraph below if saw cutting is not permitted.  Timing is critical to sawed joints.  Widen top portion of sawed joint if joint sealants are required.  Description below allows conventional wet- and dry-cut saws and, if required depth of cut can be achieved, early entry dry-cut saws.

Delete subparagraph below if no doweled contraction or expansion joints; revise if precoated dowels are required.

Edging is included in this Article for its similarity to jointing.  Timing of edging after initial floating is critical.

E. Edging:  Tool edges of pavement, gutters, curbs, and joints in concrete after initial floating with an edging tool to a 1/4-inch radius.  Repeat tooling of edges after applying surface finishes.  Eliminate tool marks on concrete surfaces.

3.5 CONCRETE PLACEMENT

A. Moisten subbase to provide a uniform dampened condition at time concrete is placed.  Do not place concrete around manholes or other structures until they are at required finish elevation and alignment.

B. Comply with ACI 301 requirements for measuring, mixing, transporting, and placing concrete.

Delete first paragraph below if adding water after batch mixing is permitted.  ACI 301 and ASTM C 94/C 94M permit water to be added to concrete mix on-site to adjust slump, up to amount allowed in design mix, with some limitations.

C. Do not add water to concrete during delivery or at Project site.

D. Deposit and spread concrete in a continuous operation between transverse joints.  Do not push or drag concrete into place or use vibrators to move concrete into place.

E. Consolidate concrete according to ACI 301 by hand spading, rodding, or tamping.

1. Use only square-faced shovels for hand spreading and consolidation.  Consolidate with care to prevent dislocating reinforcement, dowels, and joint devices.

Delete first paragraph and subparagraph below if reinforcement is set before concrete is placed.

F. Screed pavement surfaces with a straightedge and strike off.

Initial floating stage between screeding and final floating finish is included here rather than in "Concrete Protection and Curing" Article.

G. Commence initial floating using bull floats or darbies to impart an open textured and uniform surface plane before excess moisture or bleed water appears on the surface.  Do not further disturb concrete surfaces before beginning finishing operations or spreading surface treatments.

Delete paragraph below if machine-placed curbs and gutters are not permitted.

H. Cold-Weather Placement:  Comply with ACI 306.1 and as follows.  Protect concrete work from physical damage or reduced strength that could be caused by frost, freezing actions, or low temperatures.

1. When air temperature has fallen to or is expected to fall below 40 deg F , uniformly heat water and aggregates before mixing to obtain a concrete mixture temperature of not less than 50 deg F  and not more than 80 deg F at point of placement.

2. Do not use frozen materials or materials containing ice or snow.

3. Do not use calcium chloride, salt, or other materials containing antifreeze agents or chemical accelerators unless otherwise specified and approved in mix designs.

I. Hot-Weather Placement:  Comply with ACI 301 and as follows when hot-weather conditions exist:

1. Cool ingredients before mixing to maintain concrete temperature below 90 deg F  at time of placement.  Chilled mixing water or chopped ice may be used to control temperature, provided water equivalent of ice is calculated to total amount of mixing water.  Using liquid nitrogen to cool concrete is Contractor's option.

2. Cover steel reinforcement with water-soaked burlap so steel temperature will not exceed ambient air temperature immediately before embedding in concrete.

3. Fog-spray forms, steel reinforcement, and subgrade just before placing concrete.  Keep subgrade moisture uniform without standing water, soft spots, or dry areas.

3.6 FLOAT FINISHING

Retain first paragraph below.  Some floating and troweling machines have watering attachments.  Adding water weakens the concrete surface and can cause dusting and scaling.

A. General:  Do not add water to concrete surfaces during finishing operations.

Initial floating operation is included in "Concrete Placement" Article.

B. Float Finish:  Begin the second floating operation when bleed-water sheen has disappeared and concrete surface has stiffened sufficiently to permit operations.  Float surface with power-driven floats, or by hand floating if area is small or inaccessible to power units.  Finish surfaces to true planes.  Cut down high spots and fill low spots.  Refloat surface immediately to uniform granular texture.
Select finishes from three subparagraphs below or revise to suit Project.

1. Medium-to-Fine-Textured Broom Finish:  Draw a soft bristle broom across float-finished concrete surface perpendicular to line of traffic to provide a uniform, fine-line texture.

3.7 CONCRETE PROTECTION AND CURING

A. General:  Protect freshly placed concrete from premature drying and excessive cold or hot temperatures.

B. Comply with ACI 306.1 for cold-weather protection.

If evaporation rate in first paragraph below is exceeded, ACI 305R states that plastic shrinkage cracking is probable.  See manufacturers' literature or ACI 305R for estimated moisture-loss chart relating relative humidity, air and concrete temperature, and wind velocity to rate of evaporation.

C. Evaporation Retarder:  Apply evaporation retarder to concrete surfaces if hot, dry, or windy conditions cause moisture loss approaching 0.2 lb/sq. ft. x h before and during finishing operations.  Apply according to manufacturer's written instructions after placing, screeding, and bull floating or darbying concrete, but before float finishing.

D. Begin curing after finishing concrete but not before free water has disappeared from concrete surface.

Select curing method from paragraph and subparagraphs below.

E. Curing Methods:  Cure concrete by moisture curing, moisture-retaining-cover curing, curing compound, or a combination of these as follows:

1. Moist Curing:  Keep surfaces continuously moist for not less than seven days with the following materials:

Retain first three subparagraphs below as Contractor's options unless not suited for Project.

a. Water.

b. Continuous water-fog spray.

c. Absorptive cover, water saturated and kept continuously wet.  Cover concrete surfaces and edges with 12-inch lap over adjacent absorptive covers.

2. Moisture-Retaining-Cover Curing:  Cover concrete surfaces with moisture-retaining cover for curing concrete, placed in widest practicable width, with sides and ends lapped at least 12 inches, and sealed by waterproof tape or adhesive.  Immediately repair any holes or tears during curing period using cover material and waterproof tape.

3. Curing Compound:  Apply uniformly in continuous operation by power spray or roller according to manufacturer's written instructions.  Recoat areas subjected to heavy rainfall within three hours after initial application.  Maintain continuity of coating and repair damage during curing period.

3.8 PAVEMENT TOLERANCES

A. Comply with tolerances of ACI 117 and as follows:

ACI 117 establishes few pavement tolerances; those in subparagraphs below are based on ACI 330.1.

1. Elevation:  1/4 inch.

2. Thickness:  Plus 3/8 inch, minus 1/4 inch.

3. Surface:  Gap below 10-foot- long, unleveled straightedge not to exceed 1/4 inch.

4. Contraction Joint Depth:  Plus 1/4 inch, no minus.

5. Joint Width:  Plus 1/8 inch, no minus.

3.9 REPAIRS AND PROTECTION

A. Remove and replace concrete pavement that is broken, damaged, or defective or that does not comply with requirements in this Section.

B. Protect concrete from damage.  Exclude traffic from pavement for at least 14 days after placement.  When construction traffic is permitted, maintain pavement as clean as possible by removing surface stains and spillage of materials as they occur.

C. Maintain concrete pavement free of stains, discoloration, dirt, and other foreign material.  Sweep concrete pavement not more than two days before date scheduled for Substantial Completion inspections.

END OF DOCUMENT
CEMENT CONCRETE PAVEMENT

02751 - 1

