Scope of work:

Dammon Engineering will provide design(s) for generator work to be conducted at the Louisiana Department of Agriculture Building(s) as follows:

The main building is to receive a new generator capable of powering the entire building during the highest electrical usage month.  The generator for the main building will start automatically during a power outage using an automatic transfer switch (ATS).  This generator is to be housed in a lean-to enclosure at the eastside of the main building and south of the existing chillers.  The existing 2000 gallon fuel storage is to be relocated to the new location of the generator.  The design is also to include the possibility of renting a generator with connections ready for use; this alternate will not include a housing area unless a requirement exists for the egress route of the exterior stairs.

The following buildings are to have existing or new generators available for use:  Fuel Lab, Metrology, Seed Lab & Back Warehouse, Food Services warehouse at rear of property.  These generators will not be permanently installed at the building, but are to have hookups ready for use with mechanical transfer switches.  The load for the existing/new generators will be calculated based on the highest electrical usage month.