ST. TAMMANY FIRE PROTECTION DISTRICT NO. 1
FIRE STATION #19
57047 ALLEN ROAD
SLIDELL LA  70461


SECTION 313116
TERMITE CONTROL
PART 1 -  GENERAL

1.1 RELATED DOCUMENTS

A. Drawings and general provisions of the Contract, including General and Supplementary Conditions and Division 1 Specification Sections, apply to this Section.

1.2 SUMMARY

A. This Section includes the following:

1. Soil treatment with termiticide.

1.3 PERFORMANCE REQUIREMENTS

A. Service Life of Soil Treatment:  Soil treatment by use of a termiticide that is effective for not less than five years against infestation of subterranean termites.

1.4 SUBMITTALS

A. Product Data:  For termiticide.

1. Include the EPA-Registered Label for termiticide products.

B. Product Certificates:  For termite control products, signed by product manufacturer.

C. Qualification Data:  For Installer of termite control products.

D. Soil Treatment Application Report:  After application of termiticide is completed, submit report for Owner's record information, including the following:

1. Date and time of application.

2. Moisture content of soil before application.

3. Brand name and manufacturer of termiticide.

4. Quantity of undiluted termiticide used.

5. Dilutions, methods, volumes, and rates of application used.

6. Areas of application.

7. Water source for application.

1.5 QUALITY ASSURANCE

A. Installer Qualifications:  A specialist who is licensed according to regulations of authorities having jurisdiction to apply termite control treatment and products in jurisdiction where Project is located.

B. Regulatory Requirements:  Formulate and apply termiticides according to the EPA-Registered Label.

C. Source Limitations:  Obtain termite control products through one source.

D. Preinstallation Conference:  Conduct conference at Project site to comply with requirements in Division 1 Section "Project Management and Coordination" to schedule application of termiticide products.

1.6 PROJECT CONDITIONS

A. Environmental Limitations:  To ensure penetration, do not treat soil that is water saturated or frozen.  Do not treat soil while precipitation is occurring.  Comply with requirements of the EPA-Registered Label and requirements of authorities having jurisdiction.

1.7 COORDINATION

A. Coordinate soil treatment application with excavating, filling, grading, and concreting operations.  Treat soil under footings, grade beams, and ground-supported slabs before construction.

1.8 WARRANTY

A. Special Warranty:  Manufacturer's standard form, signed by Applicator and Contractor certifying that termite control work, consisting of applied soil termiticide treatment, will prevent infestation of subterranean termites.  If subterranean termite activity or damage is discovered during warranty period, re-treat soil and repair or replace damage caused by termite infestation.

Verify available warranties and insert number below.

1. Warranty Period: Five years from date of Substantial Completion.

1.9 MAINTENANCE SERVICE

Retain or delete this Article to suit needs of Owner.  Coordinate with warranty requirements if any.  Because bait-station systems require postconstruction monitoring and treatment, retain below if bait products are specified.  Consult Owner and revise below for other terms.

A. Continuing Service:  Beginning at Substantial Completion, provide 12 months continuing service including monitoring, inspection, and re-treatment for occurrences of termite activity.  Provide a standard continuing service agreement.  State services, obligations, conditions, and terms for agreement period; and terms for future renewal options.

PART 2 -  PRODUCTS

2.1 MANUFACTURERS

See Editing Instruction No. 1 in the Evaluations for cautions about naming manufacturers and products.

A. Available Manufacturers:  Subject to compliance with requirements, manufacturers offering products that may be incorporated into the Work include, but are not limited to, the following:

Retain above for nonproprietary or below for semiproprietary specification.  Refer to Division 1 Section "Product Requirements."

B. Manufacturers:  Subject to compliance with requirements, provide products by one of the following:

1. Termiticides:

a. Aventis Environmental Science USA LP; Termidor.

b. Bayer Corporation; Premise 75.

c. Dow AgroSciences LLC; Dursban TC or Equity.

d. FMC Corporation, Agricultural Products Group; Talstar, Prevail FT, Torpedo.

e. Syngenta; Demon TC.

2.2 SOIL TREATMENT

Retain this Article unless another method of preconstruction treatment is permitted by authorities having jurisdiction.

A. Termiticide:  Provide an EPA-registered termiticide complying with requirements of authorities having jurisdiction, in an aqueous solution formulated to prevent termite infestation.  Provide quantity required for application at the label volume and rate for the maximum termiticide concentration allowed for each specific use, according to product's EPA-Registered Lab.

PART 3 -  EXECUTION

3.1 EXAMINATION

Revise this Article if soil treatment is not included.

A. Examine substrates, areas, and conditions, with Applicator present, for compliance with requirements for moisture content of soil, interfaces with earthwork, slab and foundation work, landscaping, and other conditions affecting performance of termite control.

1. Proceed with application only after unsatisfactory conditions have been corrected.

3.2 PREPARATION

A. General:  Comply with the most stringent requirements of authorities having jurisdiction and with manufacturer's written instructions for preparation before beginning application of termite control treatment.  Remove all extraneous sources of wood cellulose and other edible materials such as wood debris, tree stumps and roots, stakes, formwork, and construction waste wood from soil within and around foundations.

Delete paragraph and subparagraph below if no soil treatment.

B. Soil Treatment Preparation:  Remove foreign matter and impermeable soil materials that could decrease treatment effectiveness on areas to be treated.  Loosen, rake, and level soil to be treated except previously compacted areas under slabs and footings.  Termiticides may be applied before placing compacted fill under slabs if recommended in writing by termiticide manufacturer.

1. Fit filling hose connected to water source at the site with a backflow preventer, complying with requirements of authorities having jurisdiction.

3.3 APPLICATION, GENERAL

A. General:  Comply with the most stringent requirements of authorities having jurisdiction and with manufacturer's EPA-Registered Label for products.

3.4 APPLYING SOIL TREATMENT

Retain this Article for soil treatment, delete if not applicable, or revise to suit Project.  Products must be applied according to manufacturer's EPA-Registered Label for maximum performance.

A. Application:  Mix soil treatment termiticide solution to a uniform consistency.  Provide quantity required for application at the label volume and rate for the maximum specified concentration of termiticide, according to manufacturer's EPA-Registered Label, to the following so that a continuous horizontal and vertical termiticidal barrier or treated zone is established around and under building construction.  Distribute treatment evenly.

Revise five subparagraphs below to suit Project.

1. Slabs-on-Grade and Basement Slabs:  Under ground-supported slab construction, including footings, building slabs, and attached slabs as an overall treatment.  Treat soil materials before concrete footings and slabs are placed.

2. Foundations:  Adjacent soil including soil along the entire inside perimeter of foundation walls, along both sides of interior partition walls, around plumbing pipes and electric conduit penetrating the slab, and around interior column footers, piers, and chimney bases; also along the entire outside perimeter, from grade to bottom of footing.  Avoid soil washout around footings.

3. Crawlspaces:  Soil under and adjacent to foundations as previously indicated.  Treat adjacent areas including around entrance platform, porches, and equipment bases.  Apply overall treatment only where attached concrete platform and porches are on fill or ground.

Examples of masonry voids are the insides of hollow masonry units and behind masonry veneer.

4. Masonry:  Treat voids.

5. Penetrations:  At expansion joints, control joints, and areas where slabs will be penetrated.

Insert requirements here for crawlspaces used as plenum spaces only after seeing Evaluations for cautionary information.

B. Avoid disturbance of treated soil after application.  Keep off treated areas until completely dry.

C. Protect termiticide solution, dispersed in treated soils and fills, from being diluted until ground-supported slabs are installed.  Use waterproof barrier according to EPA-Registered Label instructions.

D. Post warning signs in areas of application.

E. Reapply soil treatment solution to areas disturbed by subsequent excavation, grading, landscaping, or other construction activities following application.

END OF DOCUMENT
TERMITE CONTROL

313116 - 1

