May 11, 2010

Mr. William Efferson

State of Louisiana

Office of State Fire Marshal 

8181 Independence Boulevard

Baton Rouge, Louisiana 70806

RE: P03800220

       Children’s International Medical Group

       Hwy 51 

       Hammond, La. 70401

Dear Mr. Efferson,

We have made the following changes to the building plans for you to review and amend the letter:

1. We are not having an Automatic Sprinkler System or Fire Alarm.

2. We have added a second exit in the rear of the building to cut down on the travel distance. 

Please call me with any question you may have.
Sincerely,

Chuck Dammon 

VP/Project Manager

Attachment:

Copy of Fire Marshal review, P0380220

Copy of revised drawing

