[image: image1.png]


Quotation    From           
[image: image2.jpg]



Medical Air Solutions, LLC 
 

TO:
Barry Winters

Slidell Memorial Hospital


1001 Gause Blvd.






Quotation valid for 60 days
Slidell, LA 70458





      
Date: June 9, 2010

Line Quote FOR:   Equipment and Installation to Create a CSP Area for USP 797 Compliance

(This quote represents the cost of instruments, equipment, materials and installation that MAS supplies ONLY)

Description:

1 – AirShield™ AS2000EG rooftop mounted positive pressure supply APS (Does not include exterior insulation)

3 – Laminar Airflow Diffuser Plenums, stainless steel, 2’ x 4’
2 – Laminar Airflow Diffuser Plenums, stainless steel, 2’ x 2’
4 – Return Grilles 304 stainless steel 2’ x 2’

3 – TRRM, Remote sensor room pressure, rHumidity, temperature monitors w/ BAS communications

3 - Cleanroom sealed ceiling systems – Anteroom & 2 Buffer Zones (Complete)

1 - Prefabricated wall (Wall “A”) with 2 doors, hardware, automatic closers, fasteners, etc.
3 - “Pass-throughs”

1 – Laser particle counter 

1 - Active air sampler

4 x LUWM136 UVGI units

Design Services (includes commissioning and on-site, in-service)

Instruments, equipment and materials shipping to Slidell, LA
Installation of MAS supplied CSP area by American Medical Systems included

Discount calculated for all Amerinet listed items (plus the HVAC unit) included (Amerinet Contract VH10166 – Expires September 30, 2010)

Warranty:

    
AS2000EG-PP/NP:  Three (3) years parts and materials


TRRM Monitor and UVGI:  Two (2) years parts and materials

Particle Counter/Air Sampler/Pass-Through:  One (1) year parts and materials

Shipping:

Prepaid and added to the invoice.

Delivery:


<60 days ARO

Conditions:

A valid written purchase order is required from hospitals, medical institutions, their clinics or a MAS pre-approved leasing company or bank.   We accept VISA, MasterCard and Discover Card payments (4% fee charged for credit card purchases).

Terms: 
A deposit is required with the purchase order.  Balance due upon delivery of equipment.  A delayed payment beyond terms will incur a one and a half percent (1½%) charge per month on any unpaid balance.

The deposit includes:

50% of equipment, instrument and materials and shipping costs, 100% Design Services (completed)   This does not include installation.

Invoice to be issued for the amount of:




$  58,476.53
End:

2008 Compliance Items with Installation



Total:
$136,293.06

S/: ______________________________

Lee G. Hadin, Managing Partner

Medical Air Solutions, LLC

This quotation does not include any local, state or federal taxes that may be applicable.  When ordering please attach a copy of your tax exempt status certificate, otherwise appropriate taxes will be added to the invoice. MAS is not, and will not be responsible for any taxes due on such order.

”Objective Aerobiological Assessments & Solutions for Medical Professionals”

3080 Brookview Drive, Marietta, GA 30068-3813                         TotalAirSecurity™

800. 645.1059  or  FAX 770. 977. 9964 

E-Mail: Sales@medicalairsolutions.com 


                              http://www.medicalairsolutions.com

