Owner

Engineer

Consultant

Contractor

PROJECT:						FIELD REPORT NUMBER: 6

Slidell Memorial Hospital					ENGINEER’S PROJECT NUMBER:  2185

Walgreens

Slidell, Louisiana

CONTRACT:  Renovation

DATE:  05/07/2014			             TIME: 03:25 PM	WEATHER: Clear	TEMP RANGE: 74°

EST % OF COMPLETION:  70%			CONFORMANCE WITH SCHEDULE (+/-):  On Schedule

WORK IN PROGRESS:  				PRESENT AT SITE:

Phase 1			    	                           Lanco/Contractor's Employees

OBSERVATIONS:

Installing drop ceilings, painting walls, adding mechanical and electrical.

ITEMS TO VERIFY:

INFORMATION OR ACTION REQUIRED:

ATTACHMENTS: