 SEQ CHAPTER \h \r 1IN THE CIRCUIT COURT OF HARRISON COUNTY, MISSISSIPPI

SECOND JUDICIAL DISTRICT

LANCO CONSTRUCTION, INC.




   PLAINTIFF

VS.





              CAUSE NO. A2402-08-277
PRISMA BX, LLC, ET AL.




         DEFENDANTS

________________________________________________________________________

PRISMA BX, LLC



          
THIRD PARTY PLAINTIFF

VS.

DAMMON ENGINEERING, INC.

AND CLEARSPAN COMPONENTS, INC.
THIRD PARTY DEFENDANTS

 SEQ CHAPTER \h \r 1INTERROGATORIES

INTERROGATORY NO. 1:
Please identify all persons answering and assisting in answering the Interrogatories.

Emmett G. Dammon

Charles K. Dammon


INTERROGATORY NO. 2:
Please identify any potential party to this law suit not already named as a party hereto.


INTERROGATORY NO. 3:
Please identify all persons having knowledge of any facts relating to the Complaint and Answers (including cross-claims, counter-claims and third party complaints) filed herein and identify any other persons who may have knowledge regarding the answers to these Interrogatories.

Ron Blair (superintendent for Lanco)

INTERROGATORY NO. 4:
Please identify all persons which you intend to call, or may call, as a witness at the time of trial of this matter
David Kaufmann - K.B. Kaufmann & Co. Inc.
Ron Blair - Superintendent for Lanco.


INTERROGATORY NO. 5:  With respect to each such person identified in response to Interrogatory No. 4:

a. subject matter on which each witness is expected to testify to and the substance of the facts and/or opinions to which each witness expected to testify;

David Kaufmann – His inspection of the work indicates that some trusses were installed upside down and the floors were overloaded with sheetrock and caused the floor joist to break (or warp permanently) above the reception desk.

b. Ron Blair - Stated that it was inspected by Clear Span.


INTERROGATORY NO. 6:
Please identify all persons you expect to call, or may call, as an expert witness at the trial of this case.

David Kaufmann

Ron Blair


INTERROGATORY NO. 7:  With respect to each person identified in response to Interrogatory No. 6 state the following.

a. the name, address and telephone number of each;

David Kaufmann, K.B. Kaufmann & Co. Inc., 3173 Terrace Avenue, Slidell, La. 985-649-7381

Ron Blair, project superintendent, Hattiesburg Ms. 504-377-5992
b. the subject matter on which he is expected to testify;

???
c. a summary of his qualifications within the field in which he is expected to testify;

???
d. the substance of the facts to which he is expected to testify;

???
e. the substance of the opinions to which he is expected to testify and a summary of the grounds for each opinion;

???
f. the dates of all reports rendered by such expert, for whom prepared, and in whose custody at present; and,

???
g. all documents which the expert contends provides support to his opinions or forms the basis thereof.

???

INTERROGATORY NO. 8:  Please identify any and all experts with whom you and/or your representative or attorneys have consulted but who are not expected to testify at the trial of this cause and state the facts known and opinions of such experts and a summary of the grounds for each such opinion.


NONE


INTERROGATORY NO. 9:  Please state if you have entered into or reached any type of settlement agreement with any person or entity, whether a party to this law suit or not, regarding the subject matter of the pending lawsuit.  Please identify all parties to said settlement agreement and the terms and conditions of any such settlement agreement.


NONE 

INTERROGATORY NO. 10:  Please state any and all facts which support any of your defenses to the claims asserted by Prisma in its Third Party Complaint.


Contract Drawings; Joist Manufacturer’s Drawings

INTERROGATORY NO. 11:   Please identify with specificity all documents that you will or may seek to introduce into evidence or will otherwise rely on at the trial of this cause.

???

INTERROGATORY NO. 12:  Please identify all demonstrative exhibits that you will or may seek to introduce into evidence or will otherwise rely on at the trial of this cause.

???

INTERROGATORY NO. 13:  Please identify and describe each and every document, report, tangible thing, or physical item pertaining to any issue of the Complaint, Counterclaims, Third Party Complaint and Answers which is or has been in the custody or control of you, your agents and/or attorneys.


???

INTERROGATORY NO. 14:  Describe in detail any arrangements or agreements, whether oral or written, between you and Prisma, Lanco Construction, Inc., Loujon, Inc., and any other party who conducted work relating to construction of the subject property.

We have a signed contract with Dr. Hernandez only.


INTERROGATORY NO. 15:  Are you or your attorneys aware of the existence of any written or recorded statement(s) made by you or any witness pertaining to the facts of this case?  If so, please state:

a. the name of each person making the statement;

Ron Blair 
b. the date of the statement;

12/??/2012
c. the name, employer, occupation, last known address and telephone number of the person or persons taking the statement; and,

Ron Blair - Hattiesburg Ms. 504-377-5992


d.
the name, last know address and telephone number of the person now in possession of the original statement, or a copy of it.




Ron Blair - Hattiesburg Ms. 504-377-5992


INTERROGATORY NO. 16:  Describe all invoices, requests for payment and certificates for payment submitted by you with regards to the subject property.


None for construction related engineering.


INTERROGATORY NO. 17:   Please describe all reports, records, and documents in your possession relating to the subject property.

Hornbeck letter – 6/20/07

Hornbeck letter – 8/24/07

Hornbeck letter – 8/31/07

Hornbeck letter – 9/21/07

Hornbeck letter – 4/15/08

Hornbeck letter – 1/17/08

Hornbeck letter – 2/13/07

Hornbeck letter – 2/13/07

Hornbeck letter – 6/19/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/11/08

Hornbeck letter – 8/24/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/18/08

Hornbeck letter – 1/31/08

Hornbeck letter – 1/20/07

Hornbeck letter – 7/16/07

Hornbeck letter – 2/11/08

Hornbeck letter – 2/18/08

Hornbeck letter – 9/11/07

Fire Marshal Review Letter – 5/30/07

Fire Marshal Review Letter – 9/24/07

City of Biloxi - Itemized Response Note Sheet

City of Biloxi – Retention Pond Letter

City of Biloxi letter - 8/22/05

City of Biloxi letter updated – 5/19/06

City of Biloxi letter – 7/6/07

SCNOI

Mississippi Small Construction General Permit

Carr Allison letter – 5/10/12

Dronet letter (draft) – Transient v. Extended Stay

Hernandez letter (draft) – R1 v R2

LaQuinta  “Design & Construction Standards” – 7/28/03

LaQuinta letter – 9/17/07

Lanco/Mick Johnson Memo

Gulf States Properties Memo – 1/5/06

Grabber Cut Sheets

Subcontract 6060-2 – 11/20/06

Pay Apps 3-17

Site Analysis – 1/20/05

Site Analysis – 2/10/06

Haas & Haas Attorneys letter – 1/12/10

Wilson letter – 10/11/06

Wilson letter - 11/13/07

Fax – 6/27/05

Fax – 1/20/06

Fax – 2/15/07

PSI fax – 1/9/06

Lanco fax – 9/4/07

Nicholson fax – 2/13/06

Delano fax – 2/14/06

Email Correspondence – 8/22/05

Email Correspondence – 10/1/07


Blair Email – 9/7/07

Lanza Email – 8/30/07

Hernandez Email – 6/17/05

Hernandez Email – 9/1/07

PSI Report – 10/28/05

Wassweiler Letter – 9/4/07

Scott Delano Notes – Re Runoff & Utilities

Nicholson Letter – 2/9/06

Interoffice Memo to Pete – re pay apps

Lanco Memo – 5/22/07

Scott Delano Memo – re pool area s.f.

Contract with Dr. Hernandez – 06/15/2005

Drawing List:



Cover Sheet


C-1 Copy of Survey



C-2 Site Plan



C-3 Paving & Drainage Plan



C-4 Utilities Plan



C-5 Site Plan Details



C-6 Details



C-7 Paving Notes & Details



L-1 Landscaping Plan



S-1 Foundation Plan



S-2 Foundation Pad Plan



S-3 Piling and Bulkhead Plan



S-4 Foundation Sections



S-5 Deck Plan & Details



S-6 Topographic Sections



S-7 Topographic Sections



S-8 Topographic Sections



A-1 First Floor Plan



A-2 Second Floor Plan



A-3 Third Floor Plan



A-4 Cross Section



A-5 Longitudinal Section



A-6 Wall Sections



A-7 Details



A-8 Schedules and Details



A-9 Stair Detail



A-10 Door Details



A-11 Door/Window Types



A-12 Details & Sections



A-13 Elevations



A-14 Elevations



A-15 Roof Plan



A-16 Unit Layout & Elevations



A-17 Unit Layout & Elevations



A-18 Interior Elevations



A-19 Uplift Connections



A-20 Reflective Ceiling Plan



H-1 Handicap Notes & Details



H-2 Handicap Notes & Details



E-1 First Floor Lighting Plan



E-2 First Floor Power Plan



E-3 2nd Floor Electrical Plan



E-4 3rd Floor Electrical Plan



E-5 Panel Schedules



E-6 Parking Lot Photometric Plan



E-7 Electrical Schedules



M-1 1st Floor Mechanical Plan



M-2 2nd & 3rd Floor Mechanical Plan



P-1 1st Floor Plumbing Plan



P-2 2nd & 3rd Floor Plumbing Plan


P-3 Plumbing Riser Diagram

Contract Document - We provided Dr. Hernandez with our proposal and he elected, on that document, to engage Dammon Engineering, Inc. in the design portion of the work only.  He elected to not engage Dammon Engineering in the Construction Administration for the project.

INTERROGATORY NO. 18:   Please describe any representations relied upon by you in connection with work you provided at the subject property including the date of the representation, the parties to the representation, the subject matter of the representation and whether the representation was oral or written.


???

INTERROGATORY NO. 19:   Identify every document within your possession including but not limited to plats, surveys, plans, blueprints, drafts, drawings, specifications, engineering reports, product designs, design specifications, architectural renderings, or other documents relating to the construction of the subject property.


Drawing List:



Cover Sheet


C-1 Copy of Survey



C-2 Site Plan



C-3 Paving & Drainage Plan



C-4 Utilities Plan



C-5 Site Plan Details



C-6 Details



C-7 Paving Notes & Details



L-1 Landscaping Plan



S-1 Foundation Plan



S-2 Foundation Pad Plan



S-3 Piling and Bulkhead Plan



S-4 Foundation Sections



S-5 Deck Plan & Details



S-6 Topographic Sections



S-7 Topographic Sections



S-8 Topographic Sections



A-1 First Floor Plan



A-2 Second Floor Plan



A-3 Third Floor Plan



A-4 Cross Section



A-5 Longitudinal Section



A-6 Wall Sections



A-7 Details



A-8 Schedules and Details



A-9 Stair Detail



A-10 Door Details



A-11 Door/Window Types



A-12 Details & Sections



A-13 Elevations



A-14 Elevations



A-15 Roof Plan



A-16 Unit Layout & Elevations



A-17 Unit Layout & Elevations



A-18 Interior Elevations



A-19 Uplift Connections



A-20 Reflective Ceiling Plan



H-1 Handicap Notes & Details



H-2 Handicap Notes & Details



E-1 First Floor Lighting Plan



E-2 First Floor Power Plan



E-3 2nd Floor Electrical Plan



E-4 3rd Floor Electrical Plan



E-5 Panel Schedules



E-6 Parking Lot Photometric Plan



E-7 Electrical Schedules



M-1 1st Floor Mechanical Plan



M-2 2nd & 3rd Floor Mechanical Plan



P-1 1st Floor Plumbing Plan



P-2 2nd & 3rd Floor Plumbing Plan



P-3 Plumbing Riser Diagram

Reports, Letters & Misc. Documents:

Hornbeck letter – 6/20/07

Hornbeck letter – 8/24/07

Hornbeck letter – 8/31/07

Hornbeck letter – 9/21/07

Hornbeck letter – 4/15/08

Hornbeck letter – 1/17/08

Hornbeck letter – 2/13/07

Hornbeck letter – 2/13/07

Hornbeck letter – 6/19/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/11/08

Hornbeck letter – 8/24/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/18/08

Hornbeck letter – 1/31/08

Hornbeck letter – 1/20/07

Hornbeck letter – 7/16/07

Hornbeck letter – 2/11/08

Hornbeck letter – 2/18/08

Hornbeck letter – 9/11/07

Fire Marshal Review Letter – 9/24/07

Fire Marshal Review Letter – 5/30/07

City of Biloxi - Itemized Response Note Sheet

City of Biloxi – Retention Pond Letter

City of Biloxi letter – 7/6/07

City of Biloxi letter updated – 5/19/06

City of Biloxi letter - 8/22/05

SCNOI

Mississippi Small Construction General Permit

Carr Allison letter – 5/10/12

Dronet letter (draft) – Transient v. Extended Stay

Hernandez letter (draft) – R1 v R2

LaQuinta  “Design & Construction Standards” – 7/28/03

LaQuinta letter – 9/17/07

Lanco/Mick Johnson Memo

Gulf States Properties Memo – 1/5/06

Grabber Cut Sheets

Subcontract 6060-2 – 11/20/06

Pay Apps 3-17

Site Analysis – 1/20/05

Site Analysis – 2/10/06

Haas & Haas Attorneys letter – 1/12/10

Wilson letter – 10/11/06

Wilson letter - 11/13/07

Fax – 2/15/07

Fax – 1/20/06

Fax – 6/27/05

PSI fax – 1/9/06

Lanco fax – 9/4/07

Lanco fax – 9/4/07

Nicholson fax – 2/13/06

Delano fax – 2/14/06

Email Correspondence – 8/22/05

Email Correspondence – 10/1/07


Blair Email – 9/7/07

Lanza Email – 8/30/07

Hernandez Email – 6/17/05

Hernandez Email – 9/1/07

PSI Report – 10/28/05

Wassweiler Letter – 9/4/07

Scott Delano Notes – Re Runoff & Utilities

Nicholson Letter – 2/9/06

Interoffice Memo to Pete – re pay apps

Lanco Memo – 5/22/07

Scott Delano Memo – re pool area s.f.

Contract with Dr. Hernandez – 06/15/2005

The design of the building was furnished to us by LaQuinta.  Our job was to make changes and draw it as required to meet Owner’s requirements, latest standards of all governing bodies – city, state & national.

INTERROGATORY NO. 20:   Identify every document within your possession including but not limited to plats, surveys, plans, blueprints, drafts, drawings, specifications, engineering reports, product designs, design specifications, architectural renderings, or other documents in connection with the construction of the subject property which you provided to Prisma, Lanco Construction, Inc., and/or Loujon, Inc.


Drawing List:



Cover Sheet


C-1 Copy of Survey



C-2 Site Plan



C-3 Paving & Drainage Plan



C-4 Utilities Plan



C-5 Site Plan Details



C-6 Details



C-7 Paving Notes & Details



L-1 Landscaping Plan



S-1 Foundation Plan



S-2 Foundation Pad Plan



S-3 Piling and Bulkhead Plan



S-4 Foundation Sections



S-5 Deck Plan & Details



S-6 Topographic Sections



S-7 Topographic Sections



S-8 Topographic Sections



A-1 First Floor Plan



A-2 Second Floor Plan



A-3 Third Floor Plan



A-4 Cross Section



A-5 Longitudinal Section



A-6 Wall Sections



A-7 Details



A-8 Schedules and Details



A-9 Stair Detail



A-10 Door Details



A-11 Door/Window Types



A-12 Details & Sections



A-13 Elevations



A-14 Elevations



A-15 Roof Plan



A-16 Unit Layout & Elevations



A-17 Unit Layout & Elevations



A-18 Interior Elevations



A-19 Uplift Connections



A-20 Reflective Ceiling Plan



H-1 Handicap Notes & Details



H-2 Handicap Notes & Details



E-1 First Floor Lighting Plan



E-2 First Floor Power Plan



E-3 2nd Floor Electrical Plan



E-4 3rd Floor Electrical Plan



E-5 Panel Schedules



E-6 Parking Lot Photometric Plan



E-7 Electrical Schedules



M-1 1st Floor Mechanical Plan



M-2 2nd & 3rd Floor Mechanical Plan



P-1 1st Floor Plumbing Plan



P-2 2nd & 3rd Floor Plumbing Plan



P-3 Plumbing Riser Diagram

Reports, Letters & Misc. Documents:

Hornbeck letter – 6/20/07

Hornbeck letter – 8/24/07

Hornbeck letter – 8/31/07

Hornbeck letter – 9/21/07

Hornbeck letter – 4/15/08

Hornbeck letter – 1/17/08

Hornbeck letter – 2/13/07

Hornbeck letter – 2/13/07

Hornbeck letter – 6/19/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/11/08

Hornbeck letter – 8/24/07

Hornbeck letter – 9/19/07

Hornbeck letter – 1/18/08

Hornbeck letter – 1/31/08

Hornbeck letter – 1/20/07

Hornbeck letter – 7/16/07

Hornbeck letter – 2/11/08

Hornbeck letter – 2/18/08

Hornbeck letter – 9/11/07

Fire Marshal Review Letter – 9/24/07

Fire Marshal Review Letter – 5/30/07

City of Biloxi - Itemized Response Note Sheet

City of Biloxi – Retention Pond Letter

City of Biloxi letter – 7/6/07

City of Biloxi letter updated – 5/19/06

City of Biloxi letter - 8/22/05

SCNOI

Mississippi Small Construction General Permit

Carr Allison letter – 5/10/12

Dronet letter (draft) – Transient v. Extended Stay

Hernandez letter (draft) – R1 v R2

LaQuinta  “Design & Construction Standards” – 7/28/03

LaQuinta letter – 9/17/07

Lanco/Mick Johnson Memo

Gulf States Properties Memo – 1/5/06

Grabber Cut Sheets

Subcontract 6060-2 – 11/20/06

Pay Apps 3-17

Site Analysis – 1/20/05

Site Analysis – 2/10/06

Haas & Haas Attorneys letter – 1/12/10

Wilson letter – 10/11/06

Wilson letter - 11/13/07

Fax – 2/15/07

Fax – 1/20/06

Fax – 6/27/05

PSI fax – 1/9/06

Lanco fax – 9/4/07

Lanco fax – 9/4/07

Nicholson fax – 2/13/06

Delano fax – 2/14/06

Email Correspondence – 8/22/05

Email Correspondence – 10/1/07


Blair Email – 9/7/07

Lanza Email – 8/30/07

Hernandez Email – 6/17/05

Hernandez Email – 9/1/07

PSI Report – 10/28/05

Wassweiler Letter – 9/4/07

Scott Delano Notes – Re Runoff & Utilities

Nicholson Letter – 2/9/06

Interoffice Memo to Pete – re pay apps

Lanco Memo – 5/22/07

Scott Delano Memo – re pool area s.f.

Contract with Dr. Hernandez – 06/15/2005


INTERROGATORY NO. 21:  Describe all monies paid to you in connection with work, materials and labor supplied by you relating to construction of any portion or element of the subject property.  Identify the amount of each such payment and the party or parties making said payment. 


NONE


INTERROGATORY NO. 22:  Describe all monies paid to you by Lanco Construction, Inc. and/or Loujon, Inc. in connection with work, materials and labor supplied by you to and/or for the subject property.


NONE


INTERROGATORY NO. 23:   Describe all monies, if any, paid to you by any third parties including sub-contractors and material providers relating to the subject property.


NONE


INTERROGATORY NO. 24:  Describe all licenses and certifications you maintain in the State of Mississippi.  

Professional Engineer  - #9652


INTERROGATORY NO. 25: Describe in detail any and all materials supplied and work performed by you, your representatives relating to the subject property. 

The design of the building was furnished to us by LaQuinta.  Dammon Engineering’s job was to make changes and design it as required to meet Owner’s requirements and the latest standards of all governing bodies – city, state & national.  Dr. Hernandez contracted with us to complete the design.  He specifically excluded Construction Administration from his contract.  We provided design documents as we were contracted to do.
During Construction - Ron Blair called and stated that the beam he (superintendent) installed had failed and asked if we would help design a fletch beam and column for the 2nd and 3rd floor deflection that is taking place in that area. Dammon Engineering did so and told him to jack the floor up and install the fletch beam and column. He did so and stated that all the deflection didn’t come out, but that he would level the floors with the lightweight concrete. 

INTERROGATORY NO. 26:     Identify every document within your possession including but not limited to maps, plats, surveys, plans, blueprints, drafts, drawings, engineering reports, product designs, design specifications, architectural renderings, or other documents relating to the joist and truss system utilized in the subject property.


list of documents as supplied to attorney

INTERROGATORY NO. 27:   Identify each and every document relied upon by you in designing, manufacturing and/or preparing the joint and truss system constructed on the subject property.

Dammon Engineering did not design the joint and truss system; it was designed by Clearspan components, Inc. of Meridian, Ms.


INTERROGATORY NO. 28:   Describe in detail any construction defects or areas in need of repair for the subject property and state what you believe to be the cause of each defect or area in need of repair and who you believe to be responsible for the same.

Some trusses were installed upside down.  Floors were also overloaded with sheetrock, causing the floor joist to break (or warp permanently) above the reception desk.  A beam installed by the General Contractor also failed.  The General Contractor is responsible.

INTERROGATORY NO. 29:   Please state what you believe to be the cause of the deflection of the ceiling and floors on the subject property, what repairs you believe are necessary to remedy the deflections, and who you believe is responsible for the deflections.
Clearspan stated in a phone conversation that the floors were over loaded and the Owner has since had David Kaufmann investigate.  Mr. Kaufmann noted that the some trusses were installed upside down, trusses were not supported where needed and were overloaded with sheet rock. 
A beam installed by the General Contractor failed.

The General Contractor is responsible.

INTERROGATORY NO. 30:   Please identify each insurance policy which may provide defense and/or indemnity to the answering party, including any policy which may satisfy all or part of any judgment rendered in this action, and state whether there have been any reservation of rights issued by said insurer, and if so under what basis.


XL Specialty Insurance Co. – Policy No. DPR9689170


INTERROGATORY NO 31:  Please describe any deficiencies of which you are aware in the design, preparation, manufacture and/or installation of the joist and truss system used on the subject property.

Some trusses were installed upside down.  Floors were also overloaded with sheetrock, causing the floor joist to break (or warp permanently).  A beam installed by the General Contractor also failed.
INTERROGATORY NO. 32:  Please describe all other lawsuits which the answering party has been involved in within five (5) years prior to the date of filing of this action.  Identify the same by (a) name of the parties; (b) the Court in which such action is filed; (c) the status of said case (i.e. pending  or settled); (d) and the names of the attorneys involved in said action.
Deck collapse. Dammon Engineering was erroneously named as a party to the suit, but did not design the deck and was dropped from the case.
Suite filed – Date ????

By – Names ????
Court - ???
Attorneys – Names????

What about ER case???
 SEQ CHAPTER \h \r 1REQUEST FOR PRODUCTION OF DOCUMENTS

REQUEST NO. 1:  Please produce for copying and inspection all documents which you and/or your agents or attorneys possess relating to the Complaint and Answer (including all Cross-Claims, Counter-Claims and Third Party Complaints) filed herein.  These documents shall include, but are not limited to, any tangible or physical things supporting or referred to in said pleadings.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 2:  Please produce for copying and inspection all correspondence between any parties and you regarding the subject matter of the pending lawsuit.
You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.

REQUEST NO. 3:  Produce for copying and inspection any and all documents which relate to the subject matter of the instant lawsuit.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.

REQUEST NO. 4:  Produce for copying and inspection any and all documentary evidence you intend to introduce, or may introduce, at the time of trial in this matter.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 5:  Produce for copying and inspection any and all demonstrative evidence you intend to introduce, or may introduce, at the time of trial in this matter.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.

REQUEST NO. 6:  Produce for copying and inspection any and all other evidence you intend to introduce, or may introduce, at the time of trial of this matter.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO.7:  Produce for copying and inspection any and all statements of any type that have been taken from any witness or any other person in connection with the present law suit, whether oral or written. 

Not in our possession.


REQUEST NO. 8:  Produce for copying and inspection a copy of any and all notes, memorandums, and/or communications, whether written or recorded, made by you, which relate in any way to the pending lawsuit.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 9:  Produce for copying and inspection any and all video or audio recordings, photographs, specifications, plans, blue prints, contracts, insurance policies, bonds, site plans, permits, licenses, work orders, invoices for materials and labor and other tangible things which relate in any way to the lawsuit.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 10:  Produce for copying and inspection all expert witness reports and other documents upon which said experts have based his or her opinion along with the expert's curriculum vitae.

Not in our possession.


REQUEST NO. 11:   Please produce any and all statements taken from any person including all of your employees or representatives of any party, concerning the matters at issue in this suit.  This would include, but is not limited to, any and all statements taken on your behalf, including statements taken by your attorneys, representatives, agents, employees, and investigators.

Not in our possession.


REQUEST NO. 12:  Please produce a copy of all documents which evidence, support, or tend to establish your defenses to Prisma’s claims asserted in its Third Party Complaint and will be relied upon at the time of trial or at any other time in this action.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 13:  Please produce a copy of any records, reports, calculations or other documents relating to the materials supplied and/or work performed by you in connection with the construction of the subject property.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 14: 
Please produce a copy of any records, reports, calculations or other documents within your possession relating to the work to be performed on the subject property by any other party on your behalf.  Also produce copies of all agreements with said  parties, or advise is no such written agreements exist.

None.


REQUEST NO. 15:   Please produce a copy of any maps, plats, surveys, plans, blueprints, drafts, drawings, engineering reports, product designs, design specifications, architectural renderings, or other documents completed by you in connection with the construction of any component of the subject property.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 16:
Please produce a copy of each insurance policy which may provide defense and/or indemnity to the answering party, including any policy which may satisfy all or part of any judgment rendered in this action, together with a copy of any reservation of rights issued by said insurer.


REQUEST NO. 17:
Please produce a copy of all reports, records, or documents reviewed by you in connection with each certificate for payment issued by Lanco Construction, Inc. and/or Loujon, Inc. for the work allegedly completed on the subject property.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 18:
Please produce of copy of any inspection report completed by you in connection with each certificate for payment issued by Lanco Construction, Inc. and/or Loujon, Inc. for the work allegedly completed on the subject property.

None.


REQUEST NO. 19:
Please produce a copy of any and all documents within your possession including but not limited to maps, plats, surveys, plans, blueprints, drafts, drawings, engineering reports, product designs, design specifications, architectural renderings, or other documents relating to the joist and truss system constructed on the subject property.

Dammon Engineering was not involved in the design, construction, preparation or installation of the joist & truss system constructed on the subject property.


REQUEST NO. 20:
Please produce a copy of any and all documents relied upon by you in preparing and manufacturing the joist and truss system used in the subject property.

Dammon Engineering was not involved in the design, construction, preparation or installation of the joist & truss system constructed on the subject property.


REQUEST NO. 21:  Please produce a copy of any and all documents embodying or accomplishing any settlement or other agreement absolving any party of liability regarding the subject litigation. 

None.


REQUEST NO. 22:  Please produce for copying and inspection all documents not previously requested which relate to the allegations of any party in this action or support the defenses of any party herein.

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 23:  Please produce for copying and inspection all documents identified in Response to Interrogatories.  

You were provided with all copies of all documents that you previously requested when you misled us into thinking you were working with us.


REQUEST NO. 24:
Please produce copies of all licenses you maintain in the State of Mississippi including the City of Biloxi.


REQUEST NO. 25:  Please produce copies of all permits issued to you in connection with the subject property.

Dammon Engineering did not apply for, nor do we possess, any permits in connection with the subject property.
PAGE  
23

