DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     July 16, 2007
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

    All exterior walls shall be rated using the design WP 8105. See the attached sketch.

    All stud walls shall be constructed with wood studs.

    Please call me with any questions or concerns you may have.

    Thank you,

    Emmett Dammon

