DAMMON ENGINEERING, INC.

dammonengineering.com


CONSULTING

DESIGN

STUDIES

EXPERT WITNESS


1095 Florida Ave.



   P.O. Box 2830



     985-649-5832

Slidell, LA 70458



Slidell, LA  70459


            FAX 985-641-5950

     September 19, 2007
     City Of Biloxi Building Code Plan Review

     Biloxi Building Code Office

     676 Dr. Martin Luther King Blvd.

     Biloxi, MS. 

     Attn: Michael Hornbeck

     Ref: La Quinta Inn Suites

            Cedar Lake Road

            Biloxi, MS.

     Dear Mr. Hornbeck

   The enclosure behind the toilets shall be capped off in the attic using two layers of 5/8” type ”X” sheet rock. The enclosure behind the bathtubs shall be enclosed from the top using three layers of 5/8” type “X”.  Per detail LL sheet a-7. All piping penetrating a rated assembly shall be fire caulked using the appropriate type of fire caulking for that penetration. All penetrations shall be fire caulked using Grabber IFC and is approved for 4” PVC pipe, with a point of contact from 0 in. to ¾ in. All arches in the units shall have 5/8” type “X” sheet installed on it to complete the fire rating assembly for that area. 

The original submitted plans for this bldg were classified as a R-1 occupancy. We have changed the occupancy classification to R-2 due to the fact that each unit has a microwave and refrigerator and allows for extended stays uses. Please see the attached letters.

Please call me with any questions you may have.

     Thank you,

    Emmett Dammon

