
 000 SECTION 10150

COMPARTMENTS AND CUBICLES

PART 1 GENERAL

1.1 SUMMARY

A. Provide toilet partitions and screens.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: Accurate Partitions, Bobrick Washroom Equipment, General Partitions Manufacturing, Knickerbocker Partition, Santana Products, Sanymetal, or approved equal.

B.  005Toilet Compartment Type and Mounting:

 005_20 Compartments:  Floor mounted overhead braced.

1.  005_40 Screens:  Wall-hung.

2.  005_45 Style:  Standard privacy style.

C.  010 Toilet Compartment Materials:

 010_05 Plastic Laminate Compartments:  NEMA LD-3, minimum 0.050 inch thick plastic laminate facing on particleboard core.

1. Refer to La Quinta Finish Selection Book.

END OF SECTION


COMPARTMENTS AND CUBICLES


10150-1

