
SECTION 10503

METAL LOCKERS

PART 1 GENERAL

1.1 SUMMARY

A. Provide metal lockers.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers: Lyon Metal Products, Penco Products, Republic Storage Systems, or approved equal.

B. Lockers:

Type:  Wardrobe lockers, sheet steel, 24 gauge (.0239 inch) back and sides, 16 gauge (.0598 inch) top, bottom, and doors.

1. Tier:  Multiple-tier lockers.

2. Face:  Perforated.

3. Tops:  Sloped.

4. Mounting:  Elevated base.

5. Color to match adjacent wall surface.

END OF SECTION


METAL LOCKERS


10503-1

