
SECTION 10653

FOLDING PANEL PARTITIONS

PART 1 - GENERAL

1.01 SUMMARY

A. Provide operable panel partitions and overhead tracks.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Shop Drawings:  Submit shop drawings indicating material characteristics, details of construction, connections, and relationship with adjacent construction.

C. Samples:  Submit two representative samples of each material specified indicating visual characteristics and finish.  Include range samples if variation of finish is anticipated.

D. Operation and Maintenance Data:  Submit manufacturer’s operation and maintenance data, including operating instructions, list of spare parts and maintenance schedule.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. System Performance:

1. Sound Transmission Class: ASTM E 413.

a. Class 45.

2. Noise Reduction Coefficient: ASTM C 423.

a. 0.75 NRC.

3. Fire Rating:

a. As required.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Manufacturers: Holcomb & Hoke Manufacturing, Hufcor, Kwik-Wall, Modernfold, Panelfold or approved equal.

B. Operable Panel Partitions:

1. Panel Type:  Continuously hinged panels, center stacked.

2. Operation:  Manual.

3. Frame:  Steel reinforced aluminum.

4. Finish:  Vinyl.

C. Accessories:

1. Pocket doors at end of partition.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Install materials and systems in accordance with manufacturer's instructions and approved submittals.  Install materials and systems in proper relation with adjacent construction and with uniform appearance.  Coordinate with work of other sections.

B. Restore damaged finishes and test for proper operation.  Clean and protect work from damage.

END OF SECTION


FOLDING PANEL PARTITIONS


10653-1

