LQ


SECTION 10810

TOILET ACCESSORIES

PART 1 GENERAL

1.1 SUMMARY

A. Provide toilet accessories and metal framed mirrors.

PART 2 PRODUCTS

2.1 MATERIALS

A. Provide the following:

Products of Bobrick Washroom Equipment, Bradley Corporation, and Franklin Brass or equivalent.

B. Mirrors and Frames:

Glazing:  Mirror glass, 1/4 inch thick, ASTM C 1036.

C. Toilet Accessory Schedule:

	CODE
	PRODUCT
	LOCATION
	PRODUCTS
	OF/CI

CF/CI

	A
	Recessed Double Toilet Paper Holder
	Public Toilets
	Bobrick

B388
	Bradley

5150
	Franklin Brass

970
	CF/CI

	B
	Surface Mounted Toilet Paper Holder
	Housekeeping Toilets


	Bobrick

B2740
	Bradley

5234
	Franklin Brass

980B
	CF/CI

	C
	Facial Tissue Dispenser
	Rental Unit Bath
	Knutson Enterprises

0300 and 0200
	OF/CI

	D
	Robe Hook
	Rental Unit Bath


	CSI DONNER

P5030CH
	OF/CI

	F
	Towel Bar 18”
	Rental Unit Bath
	CSI CONNER

411R 18CH
	OF/CI

	G
	Shower Curtain Rod
	Rental Unit Baths
	CSI DONNER

02-1015555/63F
	OF/CI

	H
	Grab Bar 12"
	H/C Rental Unit Tub
	Bobrick

B5707X12
	Bradley

832-000-12
	Franklin Brass

5712
	CF/CI

	I
	Grab Bar 24”
	H/C Rental Unit Tub
	Bobrick

B5707X24
	Bradley

832-000-24
	Franklin Brass

5724
	CF/CI

	J
	Grab Bar 36”
	H/C Rental Unit Toilet, Typical Rental Unit
	Bobrick

B5707X36
	Bradley

832-000-36
	Franklin Brass

5736
	CF/CI

	K
	Grab Bar 42”
	H/C Rental Unit Toilet
	Bobrick

B5707X42
	Bradley

832-000-42
	Franklin Brass

5742
	CF/CI

	L
	Grab Bar  48”
	H/C Rental Unit Tub
	Bobrick

B5707X48
	Bradley

832-000-48
	Franklin B rass

5748
	CF/CI

	M
	Toilet Paper Holder
	Rental Unit Bath
	CSI Donner

576/587
	OF/CI

	N
	Wrap-Around Grab Bar
	H/C Rental Unit Shower 
	Bobrick

B5856
	Bradley

832 - 040
	Franklin Brass

5782
	CF/CI

	O
	Unframed Mirror
	Rental Unit Bath Vanity
	(see part 2.5, this Section)


	CF/CI

	P
	Tub Seat
	H/C Rental Unit Shower
	(see part 2.3, this Section)


	CF/CI

	Q
	Shower Seat
	H/C Rental Unit Shower
	(see part 2.4, this Section)


	CF/CI

	R
	Soap Dispenser Counter Top
	Public Toilets
	Bobrick

B8221
	Bradley

6304
	
	CF/CI

	S
	Soap Dispenser 

Surface Mount
	Prep Area
	Bobrick

B2111
	Bradley

6562
	Franklin Brass

1920
	CF/CI

	T
	Napkin Disposal

Surface Mount
	Public Toilet
	Bobrick

B270
	Bradley

4781-15
	Franklin Brass

1985
	CF/CI

	U
	Napkin Dispenser

Recessed
	Public Toilet 
	Bobrick

B3502
	Bradley

402-45
	
	CF/CI

	X
	Paper Towel Dispenser/Disposal
	Public Toilet

Housekeeping
	Bobrick

B3947
	Bradley

234-65
	Franklin Brass

1982
	CF/CI

	Y
	Paper Towel Dispenser
	
	Bobrick

B262
	Bradley

251-15
	Franklin Brass

1955
	CF/CI

	Z
	Mop Strip
	
	Bobrick

B223-24
	Bradley

9953
	
	CF/CI


END OF SECTION


TOILET ACCESSORIES


10810-2

