
SECTION 14240

HYDRAULIC ELEVATORS

PART 1 GENERAL

1.1 SUMMARY

A. Provide pre-engineered hydraulic elevators.

PART 2 PRODUCTS

2.1 MATERIALS

A. Manufacturers:  Dover Elevator Systems, Montgomery Kone, Otis Elevator, Schindler Elevator, or approved equal.

B. Features and Components:

Type:  Single-acting plunger-cylinder hydraulic unit.

1. Control Systems:  Multiple elevator controls.

2. Finishes:  Refer to Finish Selection Book by La Quinta.

C. Auxiliary Operations and Controls:

Alarm/emergency stop button.

1. Car position and direction indicators.

2. Audible signals.

3. Automatic 2-way leveling.

4. Liner blanket hooks and blankets.

5. Emergency power operation.

6. Fireman's switch.

D. Auxiliary Requirements:

Double-wall piston casing.

1. Pressure grouting (waterproofing) of jack hole opening.

2.2 SCHEDULE

A. Hydraulic Elevator Schedule:  

Capacity: 3500 pounds.

1. Speed: 100 feet per minute.

2. Car Size: 

a. As indicated on Drawings.

3. Landings Served:

a. As indicated on Drawings.

4. Travel Distance:

a. As indicated on Drawings.

5. Entrance Size:

a. As indicated on Drawings.

6. Entrance Door Operation: Side opening.

7. Power Supply: 

a. As indicated on Drawings

END OF SECTION


HYDRAULIC ELEVATORS


14240-1

