
SECTION 02620

SUBDRAINAGE

PART 1 - GENERAL

1.01 SUMMARY

A. Provide subdrainage systems for foundations, slabs, and below grade construction shown.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Pipe and Fittings:

1. Polyvinyl Chloride (PVC) Sewer Pipe and Fittings:  ASTM D 3034, SDR 35, bell-and-spigot ends, for gasketed joints.

2. Perforated, Polyvinyl Chloride (PVC) Sewer Pipe and Fittings:  ASTM D 2729, bell-and-spigot ends, for loose joints.

B. Accessories:

1. Pipe couplings.

2. Cleanouts.

3. Sleeves.

4. Drainage conduits.

C. Drainage panels: 

1. Composite drainage panels with insulating drainage core and filter fabric.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Install materials and systems in accordance with manufacturer's instructions and approved submittals.  Install materials and systems in proper relation with adjacent construction.  Coordinate with work of other sections.  Provide cleanouts.

B. Connect to above-grade and below-grade drainage systems.  Drain system to approved location.  Test for proper operation.  Clean system out and protect work from damage.

END OF SECTION


SUBDRAINAGE


02620-1

