
SECTION 03530

LIGHTWEIGHT CONCRETE TOPPING

PART 1 - GENERAL

1.01 SUMMARY

A. Provide monolithic concrete floor toppings over structural wood floor and deck systems.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. Mock-Ups:  Provide mock-up as required to demonstrate quality of workmanship.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Manufacturer and Type:  Maxxon Corporation, “Gyp-Crete” gypsum cement based floor underlayment or equivalent.

B. Standard aggregate Toppings:

1. Compressive Strength:  1,500 psi.

2. Flame Spread:  0.

END OF SECTION


CONCRETE TOPPING


03530-1

