
SECTION 06130

HEAVY TIMBER CONSTRUCTION

PART 1 - GENERAL

1.01 SUMMARY

A. Provide heavy timber construction for structural framing:

1. Beams, girders, and purlins.

2. Columns including posts and standards.

1.02 SUBMITTALS

A. Product Data:  Submit manufacturer's product data and installation instructions for each material and product used. 

B. Shop Drawings:  Submit shop drawings indicating material characteristics, details of construction, connections, and relationship with adjacent construction.

1. Shop drawings shall be prepared and stamped by a qualified engineer licensed in the jurisdiction of the project.

1.03 QUALITY ASSURANCE

A. Comply with governing codes and regulations.  Provide products of acceptable manufacturers which have been in satisfactory use in similar service for three years.  Use experienced installers.  Deliver, handle, and store materials in accordance with manufacturer's instructions.

B. Standards:  AITC 108, Standard for Heavy Timber Construction; AITC 112, Standard for Tongue and Groove Heavy Timber Roof Decking.

C. Preservative Treatment, Timber Framing:  AWPA  C2.

D. Fire-Retardant Treatment, Solid Wood Decking:  AWPA C20, flame-spread not higher than 25, UL Test 723.

PART 2 - PRODUCTS

2.01 MATERIALS

A. Timber Framing:

1. Species:  Fabricator's option.

2. Grade:  Suitable for use intended.

3. Stress Rating:  Suitable for use intended.

4. Moisture Content:  19 percent S-DRY.

5. Dressing:  Dressed 4 sides.

6. Connectors, Anchors, and Accessories:  ASTM A 36, structural steel, and ASTM A 307, steel bolts.

PART 3 - EXECUTION

3.01 INSTALLATION

A. Install materials and systems in accordance with manufacturer's instructions and approved submittals.  Install materials and systems in proper relation with adjacent construction and with uniform appearance.  Coordinate with work of other sections.

B. Restore damaged components.  Clean and protect work from damage.

END OF SECTION


HEAVY TIMBER CONSTRUCTION


06130-1

