
SECTION 08520

ALUMINUM WINDOWS

PART 1 GENERAL

1.1 SUMMARY

A. Provide aluminum windows.

PART 2 PRODUCTS

2.1 MATERIALS

A. Provide the following:

Manufacturers:  Alenco, Quaker Window Products, Inc., Craftline or approved equal.

B. Aluminum Windows:

Construction:  Thermal-break type.

1. Aluminum Window Members:  Aluminum extrusions.

2. Anchors, Clips, and Window Accessories:  Aluminum, nonmagnetic stainless steel, or galvanized steel.

3. Window Operation:  Horizontal sliding windows.

4. Window Operation:  Fixed windows.

5. Window Grade:  Commercial grade, AAMA 101.

6. Glazing:  Insulating glass.

7. Glazing Color:  Clear glass.

8. Aluminum Finish:  Baked enamel.

9. Divided lite mullions shall be between the two panes of insulated glass.

C. Auxiliary Materials:

Ventilator opening limit device.

1. Operating hardware.

END OF SECTION


ALUMINUM WINDOWS


08520-1

