
SECTION 08710

DOOR HARDWARE

PART 1 GENERAL

1.1 SUMMARY

A. Provide door hardware.

PART 2 PRODUCTS

2.1 MATERIALS

A. Provide the following:

B. Door Hardware:

Quality Level:  Commercial.

1. Keying:  Owner's requirements.

2. Keying:  Multiple building keying and key control system.

3. Hinges and Butts:  Full-mortise type with nonremovable pins at exterior doors.

4. Closers, Door Control, and Exit Devices:  Barrier-free.

5. Pivots:  Offset or center-hung type.

6. Push/Pull Units:  Through-bolted type.

7. Hardware Finishes:  Bright brass finish on exposed surfaces.

8. Hardware Finishes:  Satin brass finish on exposed surfaces.

C. Auxiliary Materials:

Stops and overhead door holders.

1. Soundstripping.

2. Weatherstripping and thresholds.

3. Electromagnetic hold-open devices.

4. Card-operated opening devices.

END OF SECTION


DOOR HARDWARE


08710-1

