December 5, 2007

Mr. Edwin Lee

State of Louisiana Office of State Fire Marshal

8181 Independence Blvd.

Baton Rouge, Louisiana 70806

RE:
PO324475

La Quinta Inn & Suites #12

Holiday Blvd.

Slidell, La. 70460

Dear Mr. Lee

We are resubmitting for approval a door schedule change that affects the ratings of all doors. Also we would like to eliminate the two doors #19 that lead out of the meeting rooms that exit directly outside on the first floor. Please see the attached dwgs for your review and the new door schedule. There were some doors that didn’t need the rating and some that we are able to reduce. The job is currently under construction and the contractor is ready to order the necessary doors.

Please call me with any question you may have.
Sincerely,

Chuck Dammon 

Project Manager

