 March 24, 2005

Attn:  Mr. Dan Hoge/

Electrical Inspection Department

City of Slidell

2055 Second Street

Slidell, Louisiana  70458

Re:
Slidell Textron

Dear Dan,
We have revised the lighting requirements for the exterior of the buildings on which we previously had all exterior lighting on 90-minute backup.  We now only have a total of four exterior lights that have 90 minute back up – two on the office building and two on the lunchroom area.

Please call me with any questions you may have.

Thanks,
Chuck Dammon 

