UNISTRUT P5500T CHANNELS

MOUNTING DETAILS

Slots in this channel are 1 1/8 “ long and 9/16” wide.  They are designed to accommodate a 5/8” anchor bolt with a washer.

These channels are to be mounted vertically on the face of the building at 5’ on center. Three sizes are to be used.  Beginning with one drainpipe on the right hand side of the building facing, use a 24” CHANNEL.  This will require two Red Head” wedge Anchors.  Use the 36” channel where there are two drainpipes. This will require three Wedge Anchors.  Use the 48” channel  for the three-pipe section. This requires five Wedge Anchors for proper installation.

Cable Tray Bracket #P2946 will be bolted onto the channel using two Channel Nuts #P5510 and two Hex Head Screws # HHC5050150EG that are 1 ½” long.

Pipe Strap #P2070-106-HG will be used to secure the PVC pipe to the Cable Tray Bracket. This will be a special order product from UNISTRUT direct from their distributor in Houston, Texas. This is a two piece strap fastened at the top with Bolt#HHC5050119 and Nut #P5510 (See list of products to be used for this project for contact information to order.) 

Follow the recommendations for proper tightening all bolts. It is required that these bolts be tightened to the factory recommended torque. (See drawings for details.) 

The design calls for a 12” drop starting at the right front corner (when facing the building) to allow rainwater to drain properly. This is 1/32nd inch per foot. The building is 265’  corner to corner.   

Channels are to be mounted vertically along the face of the building.  

There will be an increase in weight progressively across the building.  The first 16 channels will carry one 10” PVC pipe and use a 24” channel.

The next 16 channels will carry two 10” PVC pipes and should be 36” in length and be installed using three (3) Wedge Anchors.

The next 24 channels will carry three (3) 10” PVC pipes and should be 48” in length and be installed using five (5) Wedge Anchors.  This includes the extension of the three pipes that wrap around the corner of the building and then turn down 90 degrees where they will drain into a concrete catch basin.  Three of the 48” channels are intended to be used horizontally to support these down drains. 

We specify  the use of “Red Head” Wedge Anchors to install the vertical channel to the side of the building.  This building wall is poured concrete with river stone and is extremely hard to drill. Use  WS5860G 5/8th inch or size 11 metric 6” anchors bolt.  This bolt may be anchored drilling a hole 3 ¼ ” deep into the concrete. The manufacturer recommends expanding the anchor by tightening  the nut three to five turns. DO NOT USE A LUBRICANT.

