UNISTRUT PRODUCT SPECIFICATIONS

TEXTRON MARINE BUILDING

252 STONE ROAD

SLIDELL, LOUISIANA

UNISTRUT MOUNTING BRACKETS ARE SPECIFIED FOR THIS PROJECT

Product                                Number                 Length                Finish
Channel Column                  P5500T                    24”                       HG

    “           “                                 “                         36”                       HG

    “           “                                 “                         48”                       HG

Cable Tray Bracket              P2946                      18”                        HG

Pipe Strap *                  P2070-106-HG                 10”                        HG

(Item is a special order part)

Channel Nut                         P5510                       --                     --

Hex Head Screw                  HHC5050150EG     1 ½”                 --

End Caps                              P2860-55                  1”                    --

(To be installed on end of Cable Tray Bracket)

*This is a special order Pipe Strap # P2070-106-HG.  This strap will be a special order designed to hold the 10” PVC pipe used for the water drainage.  It will be necessary to contact the manufacturer representative located in Houston, Texas for prices and/or place your order.  Contact information is:

                UNISTRUT GULF

                4929 Blalock

                Houston, TX 77041

                800-242-1912

                713-690-1652

