chuck

STRUCTURAL INSPECTION

Date:
October 25, 2005

Type:
Primary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
Wood frame/brick w/composition shingles

Contractor:
E.C.O. Builders/Elwin Ordoyne Jr.

P.O. Box 5741

Slidell, La. 70469

Property: 
1022 Mariners Cove



Slidell, La. 70458

History:
Mr. Ordoyne contacted Dammon Engineering to perform a structural inspection on the above residence.  He was concerned about damage to the foundation and structure of the home after Hurricane Katrina’s high winds and flooding.  The owner had reported that cracks had shown up in the foundation and brick veneer walls that did not exist prior to Hurricane Katrina.
Findings:

After a visual inspection of the home, the following was noted:

1. There is a crack in the foundation in the master bedroom closet and the rear corner of the home in the bedroom.

2. The exterior brick façade has cracked on both sides of the bedroom in several places near the window and corner of the home.

Analysis:

1. Leveling and repairs to the foundation should be accomplished as soon as possible to prevent further damage to the home.  We recommend approximately 10 screw piles should be placed under the foundation to make this correction. 

2. The cracks in the brick veneer are not structural in nature.  However, once the foundation is re-leveled and repaired, the brick veneer should be re-pointed.

Conclusion:

The damage to the foundation is a direct result of the storm.  It is my professional opinion that once repairs to the items listed above are accomplished, this dwelling will be structurally sound.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


