chuck

STRUCTURAL INSPECTION

Date:
November 30, 2005

Type:
Secondary residence

RE:
Post-Hurricane Katrina Structural Inspection

Structure:
3 Story/Wood Frame/Concrete Foundation

Owner: 
Lee Dupont


Mailing Address:
Lee Dupont
Property: 
175-177 Harrison




568 Terry Parkway


New Orleans, LA 




Gretna, LA  70056
History:

Mr. Dupont contacted Dammon Engineering to perform a structural inspection on the above residence.  He was concerned about damage to the structure of the home after Hurricane Katrina’s high winds, floodwater and rain damage.
Findings:

After a visual inspection of the 1st floor basement, the following was noted:

1. The areas that were affected by the floodwaters (electrical, plumbing) will need to be replaced.

2. The foundation that supports the home is not level and has several cracks that need to be repaired.

3. Several windows are broken on the home.

4. Several pieces of siding have broken loose and are missing from the main structure. 

5. The awnings on front of the home have been damaged, some are loose and some are missing.

6. The exterior 2nd floor wall in the right rear of the home has separated from the main structure by approximately 1”.

7. The front porch is wood frame and flooring, and is buckling.  The railings have failed. 

8. The terra cotta roof has also suffered damage.

9. There are three chimneys in the home, all are badly damaged.   

Analysis:
1. Replacement of the roof and repairs to the supporting structure should be accomplished as soon as possible to prevent further damage caused by rain (see additional notes below).

2. Any sheetrock areas that were damaged by water should be removed, along with the insulation surrounding the area (see additional notes below).

3. Leveling and repairs to the foundation in the lower floor should be accomplished as soon as possible to prevent further damage to the home. 

4. The chimneys that are damaged should be removed for safety.

Conclusion:

It is my professional opinion that once repairs to the items listed above are accomplished, this dwelling will be structurally sound.

Additional Notes:

When work is being accomplished to rebuild the structure, fastenings and nail patterns should meet the new International Building Code requirements for that work.

Information homeowners should know about flood damaged walls and floors, or those damaged by water entry from rain, etc.

The wood stud walls will need to be dried out prior to covering with new wallboard.  In order to dry out the wood studs, one side of the wall will need to be removed and allow sufficient drying time to occur.  Mold remediation should occur as soon as possible.  The American Wood Council states that wood needs to dry out to less than 19% moisture content prior to enclosing wood studs, otherwise the structural integrity could be compromised and mold growth could occur.  Contractors should not re-install wallboard until the moisture content in the stud wall is below 19%.  Houses built using thicker wood products should expect longer dry out times.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


