STRUCTURAL INSPECTION

Date:
September 18, 2008

For:
Mr. Alan Loetzerich

350 Carr Drive

Slidell, Louisiana 70458

Type:
Wood frame on pilings

History:

Mr. Loetzerich reported that after the recent hurricanes sink holes appeared around the ground level slab below his home.  Water reached a height of approximately five feet in his utility room. The yard and driveway has a thick mud coating made by waves from Lake Pontchartrain sweeping mud from its bottom into the yard.

Findings:

1. I found that the concrete slab was in decent condition with a few hairline cracks that appeared to be from the recent hurricanes. The pilings are in fair shape following the beating from the debris and water.  It was noted that sand had washed out from the sinkholes that were on all sides of the slab, indicating there is material missing from the prepared base below the slab.  At some point in time, when it is loaded, the slab will settle, i.e. parking cars and/or trucks on the slab prior to fixing the problem.  

2. Mud from the lake has made the driveway almost useless, with a thick layer of mud covering the rock surface.  Since the driveway and parking area is no higher than the yard, washing doesn’t really take place.

3. The stairs for the house are damaged due to debris and water hitting the supports of the stairs.  

4. The four blow out walls located on the ground floor have shifted due to debris and water smashing the surfaces.

5. It was noted that several pieces of fascia, shingles and the chimney cap were damaged and missing from the strong winds.  As a result, rainwater leaked into the bedroom and bathroom ceiling.
Conclusion:

Because the ground slab below the house is used for a garage, small holes should be bored in a planned pattern to locate the areas that washed out, their severity, etc.  At that time, a contractor could wash sand back under the slab to fill the voids.

The driveway should be built up at least two inches higher than the yard, so that when another flood occurs it can readily be cleaned and used.  This should be either limestone or slag (a product left over from generating plants), or a concrete drive.

The stairs need to be totally removed and new stairs installed to ensure a proper rebuild per code.

The blow out walls need to be replaced and new blow out walls installed to meet FEMA requirements.

The roof shingles and fascia need to be repaired to meet local codes.  The chimney also needs a new cap. 

It is my professional opinion that accomplishing the above recommendations will fix the problems.

Sincerely,

Emmett G. (Pete) Dammon, P.E.

Louisiana License No. 8796

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.

This inspection is limited to the apparent visual conditions of the structural components of this building.  It does not cover, nor attempts to cover, any components, items, and/or conditions which, by their nature or location, are concealed or are difficult or hazardous to inspect, or which require the moving of furniture, flooring materials, rugs, fixtures, appliances, or any component-part nailed, bolted, or screwed down or shut.  No opinions are expressed regarding conditions which could be discovered only by the disassembly of any component parts, special testing, or removal of any concealing objects.

Inspections are made under normal weather conditions, and are not opinions of the conditions of the property and/or structure which may exist under unusual weather conditions, such as, but not limited to floods, heavy rains or snows, high winds, temperature extremes, or any act of God.  Specific hazardous wastes, toxic substances, toxic mold, air and water quality, communicable diseases, asbestos, soil, environmental, radon, carbon monoxide, formaldehyde, building code and termite conditions are not included in this report unless otherwise stipulated.

This report is not a warranty or guarantee of the property inspected, but it is our opinion of its condition at the time inspected.  Our liability shall be limited to reimbursement of the total cost of inspection.


